## Cover
Requirement ID abbreviations: |  | Priority legend:
ASM | Assumption | S | Shall
MV | Modelling and Validation | B5 | High priority
IF | Interfaces: Import, Export and Automation Process | B3 | Medium priority
WS | Workspace: Model assembly, User interface | B1 | Low priority
NF | Non-functional
NP | Network and Project Management
SEC | Security
Note on requirement ID numbers: At times, there are missing numbers, this is not error - we just didn't renumber original ones.
Note on Priority: "SHALL: This word, or the terms “REQUIRED” or “MUST”, means that the definition is an absolute requirement of the specification."
General requirements for Network Model Management Solutions v1.0
(2020-04-30)
Contributors (referred to as “Gilde TSOs”):
- Svk: Mats.Lerwall@svk.se, Moustafa.Chenine@vattenfall.com* (initial requirements list)
- Statnett: Svein.Harald.Olsen@statnett.no, Dag.Hagestad@statnett.no
- TenneT: Richard.de.Groot@tennet.eu, Pim.Jacobs@tennet.eu
- Swissgrid: Michael.Staehli@swissgrid.ch, Tatjana.Kostic@swissgrid.ch (TF lead)
Observers:
- ELES: Rok.Stopar@eles.si
- EIMV: Andrej.Souvent@eimv.si
- APG: David.Boehm@apg.at
* with Vattenfall since January 2020
License:
This work has been provided by Gilde TSOs under the terms of Creative Commons ShareAlike license CC BY-SA 4.0: https://creativecommons.org/licenses/by-sa/4.0/

## Requirements
ID | Topic | Requirement | Priority | Comment | Comment Contact | Editors' feedback
ASM-1 | Assumption -1 | Unless otherwise specified, it is assumed that all functionality specified in the requirements is available to authorized users through a workspace interface. | N/A | N/A | N/A | N/A
ASM -2 | Assumption -2 | The Product Core Functionality, is assumed to cover at least all requirements, designated as "Shall" and marked with "S" in the priority column. | N/A | N/A | N/A | N/A
MV-1 | Modular Network Model | The Product shall support the IEC CIM modular concept for assembling network models and network analysis solved cases. | S
MV-2 | Storage of Network Model Data | The Product shall provide a permanent and redundant store of network model data. | S
MV-3 | Unique Object Identifiers | All model objects that are created in the Product shall be assigned a unique and persistent UUID/mRID. | S
MV-4 | Modifying Unique Object Identifiers | The Product should allow an authorized user to change the UUID/ mRID of a specific object, which is to be exchanged as (delete + create). Rationale: Smooth migration of parts of models developed in different organisations / units / environments. | B5
MV-5 | Generating Unique Object Identifiers | The method for generation of mRIDs should ensure global uniqueness of the identifier. User has to be able to specify the default (e.g., UUID version 4), but have the means to create deterministic UUIDs (e.g., token-based). | B5
MV-6 | Workflow | The Product should support defining [System] workflows for modelling management and development that can capture business procedures. | B5
MV-7 | Roles | The Product shall support different roles for carrying out modelling and data maintenance operations. | S
MV-8 | Workflow | The Product should support associating roles for carrying out modelling and data maintenance operations with different workflows and decision points. | B5
MV-9 | Auditing Regimen | The Product should support a uniform and structured logging for traceability and audit for all operations carried out on Product data. | B5
MV-10 | Network Model Data | The Product shall be capable of managing data that corresponds to the electrical network's characteristics that include at least definitions as defined in IEC CIM CPSM and the ENTSO-E CGMES standards. | S
MV-11 | Modelling practices | It shall be possible to store data for a tabular-based tap changer model. For each step it shall be possible to specify voltage ratio, angular difference and complex impedance variation. | S
MV-12 | Transformer Modelling practices | The Product shall handle modelling, import and export of three winding transformers. | S
MV-13 | Transformer Modelling practices | The internal transformer model must preserve the winding connection type. (Y, D etc.). | S
MV-14 | Transformer Modelling practices | The internal power flow application should take into account phase shift originating from the winding connection type of a transformer. | B5
MV-15 | Transformer Modelling practices | The internal power flow application shall take into account phase shift for phase shifting transformers with or without tap-changer. | S
MV-16 | Modelling practices | The Product shall support specifying a global system MVA base which shall be used internally in the system where applicable. | S
MV-18 | Short Circuit Data | The Product shall support storing short circuit data (positive, zero, negative sequence data) and importing and exported data in CGMES format (EQ for short circuit). | S
MV-19 | Modelling practices | The Product should support storing dynamic model data (exciters, generators, turbine control, voltage control, load control, HVDC, FACTS) and importing and exporting data in CGMES format (DY profile). | B5
MV-20 | Ratings | The Product shall support definition of multiple ratings of different types per object where applicable (e.g., per temperature, per season, stability limits, dynamic ratings, etc.). | S | We may have many rates form multiple DSOs and our own rates to store per object where applicable, e.g. up to 25 rates per object.
MV-23 | Ratings | The Product shall provide the functionality to aggregate ratings from the components forming a series branch during export of a bus-branch model (for example, the most restrictive rating). | S
MV-25 | Modelling practices CGMES conformity | The Product shall aim to support the latest relevant standards and confomity scheme (see Standard Reference tab). The vendor must undertake and the Product must pass all conformity tests that are relevant for a given offering. | S
MV-26 | Power Flow Quality | For power flow solutions calculated on the Product, it should be possible to export from the Product and load the solution into an independent power flow engine and solve: - with little mismatch, - with max 5 iterations when the same or similar solution parameters are used, and, - for the re-solved solution, the indicators and parameter settings related to algorithm used are applicable in the given business process adequate manner (e.g., according to process specific rules defined in dedicated data quality documents and implementation guides). | B5
MV-27 | Mixed Models | The Product shall support mixed node breaker and bus branch modelling of models and model parts. | S
MV-28 | Validation Process | The Product shall support development of custom testing and validation rules that can be executed as an independent process or as a part of another business process. | S
MV-29 | CGMES Data Set Validation (import) | The Product shall validate CGMES input files, during import or on demand according to the CGMES standard and according to process specific rules defined in dedicated data quality documents and implementation guides. | S
MV-30 | CGMES Data Set Validation (export) | The Product shall validate CGMES output files, during export or on demand according to the CGMES standard and according to process specific rules defined in dedicated data quality documents and implementation guides. | B3
MV-31 | Object Constraints | The Product shall validate the object constraints of input model data in accordance with the definitions of the objects in the IEC CIM standards. | S
MV-32 | Validation Model Consistency | The Product shall validate the consistency of object and model parts for input and output data in accordance with the definitions of the objects in the IEC CIM standards. | S
MV-33 | Validation based on Schema | The Product should validate the data based on the definitions in the associated schema (RDFS/XSD), both standard and with custom extensions. | B5
MV-34 | Topology processing | The Product shall incorporate a topology processing service to enable users to test connectivity specifications. | S
MV-35 | Power Flow | The Product shall incorporate a power flow service to users to test network model at a given operating point prior to export. | S
MV-37 | CGMES Data Set Validation | When validating CGMES datasets, the Product should generate diagnostic messages in accordance with / by referring to the validation rules applied. | B3
MV-38 | On Demand Initiation of Validation | The Product shall allow any authorized user to manually initiate any validation function on the an assembled model or model part. | S
MV-39 | Validation Rules Extensions | The Product should allow the user to extend the validation rules provided in the system. | B3
MV-40 | Validation Rules Deactivation | The Product shall allow the user to deactivate one or a group of validation rules. Rationale: There may be temporarily non-working rules, user should be able to disable some of them. | S
MV-41 | Validation Rules Modification | The Product should allow to copy standard rules and use the custom modification, but the user cannot remove or modify those coming from CGMES standard, or process specific rules defined in dedicated data quality documents and implementation guides (but can temporarily disable them: see MV-40). Rationale: Changing these would break CGMES compliance. Also, we don't want to lose originally configured rules (coming with the Product) reinforcing the standards. | B3
MV-42 | Validation Categorization | The Product should categorize validation results, based on at least: - Type of validation error/result - Object, Model, model part the message or result of validation concerns - Severity of validation error | B3
MV-43 | Validation Result Presentation | The Product should provide the capability to filter out messages for specific validation messages or results based on object ,type, or severity, or any combination of these categories. | B3
MV-44 | Power Flow Results | The Product power flow calculation shall support basic output reporting. For instance, limit violations, solved power flows and complex voltages, convergence log. | S
MV-45 | Object Identifier | The persistent and unique UUID/mRID assigned to all model objects in the Product, shall be used in the export of CIM and CGMES models. | S
MV-49 | Audit Trail for identifiers | The Product should allow the users to view or query historical identifiers assigned to objects stored in the Product, for both current and previous versions. | B5
MV-53 | External Access to Product Identifiers | The Product shall provide API for smooth cooperation with an external naming registry service based on unique and persistent identifiers (UUID/mRID) or provide this service to others. Rationale: The Product core functionality need not handle integration with systems using other IDs or different naming. An Object Registry, potentially external to the Product, handles this. | S
MV-54 | Modelling practices | The Product should support removing individual elements from containers with consistency check or warning (e.g., TapChanger, TransformerEnd, PowerTransformer, Bay, Substation). | B5
MV-55 | Modelling practices | The Product shall support modifying existing elements without the need to do {delete + create} operation resulting in a new UUID / mRID. | S
MV-56 | Modelling practices | The Product shall ensure that the line limits, when defined on two line terminals, are always in sync. | S
MV-57 | Model building and validation | When a delete operation is done, the Product should warn the user if the operation will create dangling references (and show the references). The user should be able to specify which dangling references are considered as valid (without warning). Rationale: Ensure that on object deletion the user gets warned that some links will be broken, while allowing e.g. links to boundary to be dangling until model parts get assembled or relink a tap changer from one transformer to another. | B5
MV-58 | Model building | The product should be able to use the current model as a source of building blocks by doing building operations (create from a copy, cut, paste and delete) to modify the existing model. This should be done by selecting one or several objects in the graphical user ineterface or in tabular view. | B5
MV-59 | Model building | A copied object includes graphical layout information and connectivity, so that the new objects will have indentical graphical representation as the source, eg. a copy of a substation will indlude the same online diagram as the source. This will asure that the graphical information that has been put into the system will be reused, and the work with connecting the new objects and adjusting graphical layout will be keept at a minimum. | B5
MV-60 | Model building | When doing a paste operation, the product should have the possibility to configure (in user preferences) which property should be copied as is, and which one that needs to be left empty. The empty fields would be picked up by the validation, to prevent inconsistent modelling. For example when copy a regulating unit (generator, tap changer etc.), the regulating terminal must be left empty. Rationale: Ensure that we don't copy the original reference, wrong in the new context, and ensure that the validation will catch the to-be-newly-defined references. | B3
MV-61 | Model building | The product should be containment context sensitive when the user copy/paste data. If an object (station, bay, generator, switch etc.) has been copied in one containment context, and pasted into another containment context, the product should automatically place the new object (with all the objects in the structure below) into the new containment context (example: copy a switch from one bay into another). Country, SubGeorgaphicalRegion, Substation, VoltageLevel and Bay are here representing contexts. | B5
MV-62 | Model building - Naming | The product should support regular expressions (definition and evaluation) on the name attribute. Rationale: Ability to specify custom local naming scheme that can be automatically reinforced. | B3
MV-63 | Model building | The product shoud be able to import and natively use for further work each CIM-Profile dataset seperately as long as it refers to a valid EQ which is already in the Product (e.g., import CIM-DL dataset and continue with graphical modelling). | B5
MV-64 | Model building | The product shall provide zooming functionality in the graphical view and ensure the correct scaling gets applied to every object displayed. Rationale: For example, a symbol for a substation in a world view shall not be so big to hide a line between two substations. | S
MV-65 | Model building | When selecting an object for any given operation it must be easy to include in the selection all assosiated objects that naturally belongs to the initially selected object. The user should be able to configure (in user preferences) which assosiated objects to include for each type of object and for each building operation. Rationale: Creating a synchronous machine with voltage regulator (2 new objects) vs. creating synchronous machine and linking it with an existing voltage regulator (1 new object) --> ability to select whether to copy the regulator together with synchronous machine. | B5
MV-66 | Modelling | The product should have the possibility to configure which properties should be included in the object selection (in order to perfrom an operation on it, such as copy, cut, paste, delete). Rationale: Many operations are naturaly done with a set of objects. Which object belongs to which set can depend on the modeller and modelling style. Avoiding searching or duplicating operations saves time and prevents inconsistancy. | B3
MV-67 | Model building - Measurements | The product shall support the placement and displaying of CIM Measurement-s (e.g., analog, discrete, accumulator, string) and MeasurementValue-s in the SLD. Rationale: It must be possible to associate at least State Estimation results with the network model. | S
MV-68 | Model building - Controls | The product should support the placement and displaying of CIM Control-s in the SLD. Rationale: The common model base is to be used in both operational and planning contexts. In operations, it is about SCADA controls, while for planning it is useful to know whether a network model element is controllable (the fact there is a control associated with it). | B3 | yes
MV-69 | Model building - Measurements | The product should support the configuration of measurement types to be displayed in the graphical modeling view. | B3
MV-70 | Modelling | The product shall support display and entering of the values in engineering and pu. | S
MV-71 | Model building - copy/paste | The building operations should be done as either deep or shallow. A shallow operation is done on the selected objects only. A deep operation is done on both the objects and their assosieted objects (according to the definitions in user preferences). | B5
MV-72 | Model building | After pasting objects in graphical view, the pasted objects should still be selected after pasting, ready for further actions. The border nodes at the border objects should automatically be deleted, so that the pasted objects are ready for new connections. | B5
MV-73 | Model building | System/model/user preferences shall be stored so that an upgrade of server/software or switch of servers do not wipe out the preferences. | S
MV-74 | Diagram | The product shall have capability to align selected objects (graphically on diagram) in different ways (horizontal, vertical , top, middle,bottom, right, left etc.). | S
MV-75 | Model building | The product should be able to overlay model elements over a map, provided geographical coordinates are available. | B5
NP-1 | Model Parts | The Product shall be designed to support Frames, Boundaries and Network Model Parts in general. | S
NP-2 | Model Parts | The Product shall be designed such that it support the composition of Model Parts into models for various purposes. | S
NP-3 | Model Parts | The strategy for the composition of model parts into model for various purposes should conform to IEC CIM Standards. | B5
NP-4 | Model Parts Category | The Product shall categories all model parts stored into at least the following 2 categories or equivalent: -MPC1 Official Model Parts - MPC2 - Unofficial, user, test or temporary model parts | S
NP-5 | Model Parts Category | The Product should only allow authorized users to change the category to which a model part belongs to. | B5
NP-6 | Model Parts -updates | The Product shall ensure that MPC1 Model parts or equivalent, can be updated through submitted change sets or commissioned PSPs. | S
NP-7 | Model Parts - updates | The Product shall ensure that only authorized users are able to approve changes to MPC1 Model Parts. | S
NP-8 | Model Parts Auditing | The Product shall ensure an audit trail for model part modifications. | S
NP-9 | Audit Trail Information | The Product should associate appropriate contextual information with model part audit trails, for example the following or equivalent should be included: - the target of the audit trail, i.e. which model part version, - change set(s) / PSPs that have been committed - date and time of the event occurrence - user or process that initiated the event occurrence (hint: cim:ActivityRecord) | B5
NP-10 | Model Part Versioning | The Product shall support the creation of new versions of a Model Parts. | S
NP-11 | Model Part Versioning | On MPC1 Model Part modification, the Product should provide the option to automatically enforce model part version incrementing. | B3
NP-12 | Model Part Versioning | The Product shall manage the evolution of Model Parts of all categories over time by maintaining a sequence of versions. | S
NP-14 | Model Part Versioning | The Product shall maintain accessibility to past versions of Model Parts. | S
NP-15 | Model Part Rollback | The Product should allow an authorized user to rollback a Model Part latest version to the previous version. | B3
NP-16 | Model Part Rollback | On Rollback the Product should ensure that the Rollback operation logged in the Audit trail, and can be expanded to determine the changes between the versions. | B3
NP-17 | Model Part Branching | The Product should allow an authorized user to branch model part from another model part version. | B3
NP-18 | Model Part Branching | When conciliating a model branch to the main Model Part version, the Product should create a change set representing the difference between the two model parts. | B5
NP-19 | Boundary Model Parts | The Product shall support the specification of Boundary Model Parts. | S
NP-20 | Boundary Model Parts | The Product shall ensure that boundary model parts have the same functionality as Model Parts, in terms of modification, for example; audit trails, versioning rollback and branching. | S
NP-21 | Object transfer between model parts | The Product shall support, both via editing and graphically, moving model objects between model parts, where moves are represented as changes (as change sets or as equivalent) on multiple model parts. | S
NP-22 | Boundary Part Conflict Warning | When editing Model Parts, the Product should allow to run validation related to dangling references and report them in terms of at least mRID and name of objects. | B3
NP-23 | Model Framework | The Product shall support an equivalent element (Edge Model Part) to be "expanded" into a Model Part and vice versa, a Model Part to be "collapsed" into an Edge Model Part. | S
NP-24 | Boundary Parts Flexibility | The Product shall be flexible in the definition of boundary model parts allowing boundary points to be defined in substation bays for example (or on any connectivity node). | S
NP-26 | Model Specification | The Product shall allow the user to specify how to compose Frames and Boundaries into target models. | S
NP-27 | Model Specification | The Product should classify Model specifications in to least two categories, for example MST1: designating an official Model Specification. MST2: unofficial, user, test or temporary Model Specification. | B3
NP-29 | Model Specification | The Product should ensure that MST1 Model Specifications can only use MPC1 Model Parts. | B3
NP-34 | Model Framework | The Product shall support nested Frames. | S
NP-36 | Model Framework | The Product shall preserve information about the nested Frame constituents. | S
NP-37 | Model Framework | The Product shall be able to associate a Model Part Specification with a Boundary. | S
NP-38 | Model Framework | The Product shall be able to associate a Model Part Specification with a Frame. | S
NP-39 | Model Framework | The Product should be able to import and export Model (Part) Specifications in order to enable e.g., sharing with other Model Authorities. | B5
NP-40 | Model Framework | The Product shall be able to associate an Edge Model Specification with a Boundary. | S
NP-41 | Object Traceability Model Part | For any model object stored, the Product should be able to identify the Model Part to which the object is included. | B3
NP-43 | History/Version | It should be possible to browse the list of changes applied to every version of a model part, including user , date-time, and what was changed for every change set for example. | B5
NP-44 | History/Version | The Product shall support recreating the model version before or after any historical change set. | S
NP-45 | History/Version | It has to be possible to recreate an older network model given a historical specific date time. | B5
NP-46 | Future Model Definition based on explicit parts | The Product shall allow the user to define a target model composing an explicit set of model parts and PSPs. | S
NP-47 | Future Model Definition based on date | The Product shall allow to create a target model for a given date that includes all PSPs that are completed up to that date. | S
NP-48 | Future Model Definition based on date | The Product shall allow to create a target model for a given date that includes PSPs filtered on their attributes. | S
NP-50 | Model Updates | The Product shall include the functionality to create, store, modify and delete an arbitrary number of Model Updates, where a model updates consists of a collection of proposed changes, with associated annotation that includes an identifier and a user-configurable set of additional attributes. | S
NP-51 | Model Update Types | The Product should distinguish multiple user-defined types of PSPs. | B5
NP-52 | Model Update attributes | The Product shall ensure that at least the following contextual attributes are associated with Model Updates i. ID ii. Creation date (automatic) iii. Created By (automatic) iv. Changed by (automatic) v. Last Modified date time (automatic) vi. Status viii. Free Text/ Comments The CGMES Standard may not require all of these elementes to exchange and it could require additional fields to be maintained by the application. | S
NP-53 | Model Update Status | The Product shall ensure that model updates have one of the pre-configured status values to indicate their visibility in the repository. Status values can be standard-defined or user-defined. Examples of most commonly used values: private, candidate, submitted, committed, cancelled. | S
NP-54 | Model Update Status | If a change set has not been committed into the target model part, the Product should allow an authorized user to change the status state of the change set. | B5
NP-55 | Change Set Merge | The Product should support merging change sets into one change set. | B3
NP-59 | PSP Model | Until PSPs get supported in the CGMES standard, the Product should implement PSPs as defined in the IOP 2016. | B3
NP-60 | PSP Model | The Product should support the definition of multiple variants / alternatives for a given PSP, out of which only one can be active at a time. | B3
NP-61 | PSP Business Process | The Product should support association of an arbitrary number of additional documents (files such as .pdf, .jpg, docx, etc.) with a PSP. | B3
NP-62 | PSP Creation and Modification | The Product shall allow an authorized user to create, modify or delete a PSP. | S
NP-63 | PSP Split up | The Product should allow an authorized user to split up a PSP into multiple PSPs. | B5
NP-64 | PSP Dependency | The product shall allow to define time dependency and grouping of PSPs. | S
NP-65 | PSP Dependency | The Product shall allow for changing PSP attributes and PSP dependencies. | S
NP-67 | PSP Dependency | The Product should notify the user if a change in PSP attribute or dependency causes potential conflicts (based on dependency and dates) with other PSPs and indicate which PSPs. | B5
NP-68 | PSP Dependency | Along with the notification due to PSP changes, the Product should offer the user a quick possibility to validate the result of change in the model view (based on general model validation) or an automatic validation or a visual clue. | B3
NP-69 | PSP Groups | The Product should allow the user to create views with the selection of PSPs, such that one PSP may belong to multiple views. | B5
NP-76 | PSP versioning | The Product should support versioning of PSPs. | B5
NP-79 | Applied PSPs | The Product shall ensure that PSPs that have been committed to a Model Part can no longer be modified by users. | S
NP-80 | Applied PSPs and change set | The Product should allow to perform search on PSPs, both completed and active, or only completed, or only active. For example, in the search results for active model updates, the Product should make visible only PSPs that have not yet been applied to the baseline model part. Applied to the baseline means the end of a PSP as entity, with changes reflected in the new baseline. | B3
NP-81 | Archiving PSPs | The Product should allow archiving of assembled future models or PSPs designated by an authorized user for future reference, but without interfering with the current model. | B1
NP-82 | Change management / CR handling | The Product shall support change detection based on an aggregate of changes applied to a subset of the model. E.g., instead of sending several diffs in multiple incremental files, receive the container resulting from multiple changes applied (i.e., "show me what you see"), then the Product can do internally the diff and conclude about the changes. Rationale: 1) Upgrade between two versions of CIM in 2 different environments. 2) Independently managed models which need to be synchronised (among, e.g., 2 different parties). | S
WS-1 | Multiple Workspaces | The Product shall support multiple workspaces (Sandbox) for carrying out Product operations in parallel. | S
WS-2 | Local Workspaces | The Product should allow users to set up a local workspace. | B3
WS-3 | Disconnected workspace | The Product should allow the user carry out main system functionality while disconnected from the server. | B3
WS-4 | Multiple Users | The Product shall support concurrent activity by multiple users ( multiple automated processes), working on individual workspaces. | S
WS-5 | Automated Processes | The Product should allow users or automated processes to instantiate multiple workspaces. | B5
WS-6 | Workspace Conflict Resolution | The Product shall support functionality to refresh, consolidate and reconcile user workspace data with data in the Product. | S
WS-7 | Workspace Content Support | Workspace shall support Model Variations or Case Variations in development, without persisting them automatically to the baseline. In other words, the user has to be asked explicitly to save changes. | S
WS-9 | Workspace Service Functions | An Product workspace should support addition of locally defined service functions (using API) which operate on the Workspace Content. | B3
WS-10 | Workspace Differencing Functions | The Product shall support a differencing capability that will allow selected Workspace contents (i.e. loaded model parts, change sets, PSPs) of two Workspaces to be compared. The resulting differences shall be available as a change set. | S
WS-11 | Sharing a Workspace | The Product should support sharing workspace contents: a. The Product should allow users to share workspace contents with other users b. The Product should allow an authorized user to assign the workspace contents to another user. | B3
WS-12 | Workspace Persistence | The Product shall provide the ability to save and retrieve Workspace content (i.e. loaded model parts, change sets, PSPs) in whole, by part or at any stage of work. | S
WS-13 | Workspace Model Summary | The Product should provide the possibility to retrieve, into a workspace, reports summarizing data in the Product, specifically, Summary report of database, loaded workspace, model parts, e.g. number lines, number switches. Number of objects changed, number of change sets etc. | B3
WS-14 | Workspace Activity Auditing | The Product shall ensure that an audit trail shall always be available documenting how the Workspace reached its present state. | S
WS-15 | Workspace Audit | The Product should maintain complete audit trails of Workspace activity, with audit trails including the record of all services invoked. | B3
WS-16 | Model Assembly | The Product shall support assembling models in a Workspace, including: - selecting and loading into a Workspace multiple Model Parts [from the Product store or direct import] - service to assemble Model Parts into a new Model Assembly in the Workspace. | S
WS-17 | Model Assembly | When Loading dependent or related model parts in to the workspace or assembly the Product should provide the option to resolve references on the loaded parts | B3
WS-18 | Model Assembly | The Product shall provide effective means for users to select Model Variations (PSPs or change sets) to be loaded or imported into the workspace. | S
WS-19 | Model Assembly | The Product should provide a means to effectively load and optionally apply selected Model Variations (PSPs) defined for a Model Part into the Model Assembly (thereby resolving model part modification as a result of the PSP and auditing the change to the user). | B5
WS-20 | Model Assembly | The Product shall provide support for loading all PSPs and their related parts that are planned for an effective date that is selected by the user. | S
WS-21 | Model Assembly | The Product shall provide support for partitioning a loaded assembled model into its constituting parts. | S
WS-23 | Case Part Data | The Product shall support the function to create and store one or more partial or full operating hypothesis (SSH datasets, referring to a specific model part or PSP) by transforming time-series inputs like: - Generation Schedules - Voltage Schedules - Load Patterns - Interchange Patterns - Operating Limits - Contingency Lists - Outages - Solved States - Switch positions | S
WS-24 | Case Parts | The Product shall include means to perform commonly-required procedures that create or generate model cases or Case Model Parts. | S
WS-25 | Case Parts | The Product shall support means to assemble Cases by adding Case Model Parts and Case Variations to model parts or assembled network models for export to consuming applications. | S
WS-26 | Case Parts | The Product shall provide effective means for users to select and retrieve saved Case Model Parts or Case Variations for loading into a Workspace. | S
WS-27 | Case Parts | The Product services shall provide effective means for users to save selected Case Model Parts from a workspace to the Product Store. | S
WS-29 | Historical Model Browsing in Workspace | The Product shall support the possibility of loading and browsing earlier versions of model parts, historical PSPs, and applied change sets. | S
WS-30 | Change Set Modification | The Product's workspace shall provide the capability to create, modify and browse Model Variations (change sets and PSPs), stored or created in the Product. | S
WS-32 | Model Part Version Comparison | The Product shall provide the capability to compare different version of model parts, boundary parts or PSPs in the workspace and create a report and optionally a change set on the difference. | S
WS-33 | Model Audit Browsing | The Product should provide the capability to browse Model Audit Trails in the Workspace. | B5
WS-34 | Audit Trails and Model Versions | The Product should support two way reference between audit trails and model part version, allowing users to browse the audit trails and jump to the model part or vice versa. | B5
WS-37 | User Interface for Workspace Search | The Product shall provide an advanced set of search capabilities in the workspace, for example the following functions or equivalent: - search through wild cards - search through attributes and meta data associated with objects and model parts - sorting search results by various attributes - search by query - search irrespective of any filter applied for the currently loaded view - generate visual layout of an object or the relevant object container directly from search results - expand/ load detailed information on object selected from search results. | S
WS-38 | User Interface | The Product shall support the auto generation of equipment single line diagrams, in both substation and world view, from all or selected parts of workspace. | S
WS-39 | User Interface | The Product shall ensure that single line diagrams can automatically or on user request be updated based on results of calculations either imported or carried out in the active workspace. | S
WS-40 | User Interface | The Product should ensure that an opened single line diagram reflects at any time the underlying network model part, including while editing in another view (e.g. tree). | B5
WS-41 | Single Line Diagram | The Product should allow the user to reuse existing single line diagram as a template for an auto-generated single line diagram of the same underlying model part. | B3
WS-42 | User Interface | The Product should support switching between at least node-breaker and bus-branch single line diagrams, from all or selected parts of the workspace content on applicable model parts. | B5
WS-43 | Diagram | On generation of single line diagrams, the Product should support browsing the content graphically (i.e. navigating between different diagrams and from overview to detailed level ). | B3
WS-44 | Diagram | The Product should support the capability select an object from a diagram and view to see the associated attributes of the object. | B3
WS-45 | Diagram | The Product should support exporting generated single line diagrams in (a) .png or .jpeg format, (b) .pdf, and (c) .svg format. | B1
WS-46 | Diagram | The Product shall support creation of new model data through graphical modelling in the workspace. | S
WS-47 | Diagram | The Product should support using user-specific diagrammatic electrical symbols for single line diagrams (node-breaker and bus-branch). Rationale: Every region uses their specific graphical symbols. | B5
WS-48 | Diagram | The Product's symbols library and settings for single line diagrams should be configurable and extendable. | B5
WS-50 | Topology processing | The Product shall incorporate a topology processing service, in the workspace, to enable users to visualize topology. | S
WS-51 | Power Flow Calculation | The Product shall allow the user to execute power flow function on model data in the workspace and update the relevant data with the results (using SV to create the "next" SSH). It shall be possible to make changes to input parameters to the solution algorithm. | S
WS-52 | PSP Visualization | The Product should support visualizing PSP per model part, over a time line showing when PSPs are expected to be commissioned. | B3
WS-53 | Change Recording | The Product shall allow PSPs and change sets to be created by recording changes in the workspace. | S
WS-54 | Import To Workspace | The Product should be able to load external data by means of, for instance, csv file format or from clipboard (copy/paste) in tabular format. | B5
WS-55 | Workspace Audit Export | The Product should support the exporting of Workspace audit trails documenting each exported operation. | B1
WS-56 | Workspace Audit Export | Audit trails for exports should be sufficient to allow a receiving party to detect whether relevant Model changes were made. | B1
WS-57 | Workspace User Configuration | It should be possible for users to customize their own workspaces. | B1
WS-58 | User Interface | The Product should support selective model and single line diagram manipulation of elements (bulk operations per substation, per user selected set of substations, per pre-defined region), including exporting. | B3
WS-59 | User Interface | The Product should support displaying differences captured as change sets graphically, in single line diagram and tabular views, with a clear visual representation (e.g., colour, dashed lines, etc.) about what is part of the changeset as compared to the rest. | B5
WS-60 | Change Set Modification | The Product shall allow definition of rules, for instance through scripting or external library, for on-the-fly creation of multiple views of underlying Model and Model Variations (e.g., with or without DSO grid, step-up transformers, ...). | S
WS-62 | Workspace Model Summary | The Product shall allow to load multiple models into one Workspace. | S
WS-63 | User Interface for Workspace Navigation | The Product should provide a read-only version (viewer) with at least search and browse functions (e.g., WS-37, WS-70, WS-71) at no additional license cost. | B1
WS-65 | Validation Error Navigation | The Product shall allow the user to browse model validation errors and warnings in a user friendly manner (for example, hyperlinks to model objects instead of text log files). | S
WS-66 | User Interface for Workspace Navigation | The Product shall be capable of displaying (in some of its navigation views) every single model element even if it's an invalid element (e.g., TransformerEnd without associated PowerTransformer; a ConductingEquipment outside of an EquipmentContainer; a Terminal neither connected to something nor associated with something, etc.). | S
WS-67 | History/Version | The Product should support tracking its own model exchanges with other services, including time, model reference, and various versioning information (CIM, profile schema, model instance, etc.). Rationale: One possible usage of this could be to track which client (system) is using which version of the 'reference' model which is needed for impact assessment when planning changes. | B5
WS-68 | Export from Workspace | The Product should be able to export iternal data by means of, for instance, csv file format or through clipboard (copy/paste) in tabular format. | B1
WS-69 | Diagram | The Product should support the capability to select objects from a diagram and show them in tabular view, with common attributes such as name, identifier, object type. | B3
WS-70 | Diagram | The Product shall have the possibility to configure color schemes on different objects. E.g. configure coloring of voltage levels. | S
WS-71 | User Interface for Workspace Navigation | The Product shall provide users the capability to browse, navigate and edit Product content, this shall include effective graphical user interface for example, the following or equivalent : (a) Browse and edit Workspace contents in tabular, tree and graphical view. (b) Browse and edit the workspace through navigating trees and single line diagrams based on object type, geographic region, MAS, boundaries, station etc. (c) Browse and edit the workspace through navigating the whole (potentially large) connected network of substations and lines in world view. | S
WS-72 | User Interface for Workspace Navigation | The Product should provide users the capability to browse, navigate and edit Product content, including effective graphical user interface for example, the following or equivalent : (a) Browse the audit trail of the current Workspace. (b) Browse and select or define filters for the physical network models and case model parts. | B5
WS-73 | User Interface for Workspace Navigation | The Product should provide users the capability to browse, navigate and edit the API services or functions through the graphical user interface. For example, the following or equivalent : (a) Browse and enable/disable system provided API services or functions (b) Browse, edit and enable/disable user defined API services or functions | B5
WS-74 | Rebasing PSPs and Workspaces | The product should provide functionality to rebase a PSP, workspace or case model part branches to a target model part branch. | B5
IF-1 | General Import | The Product shall treat all imports as a change sets or equivalent. | S
IF-2 | CIM Model Import | The Product shall be able to import and natively use for further work an assembled model in accordance with IEC CIM and CGMES model exchange standards (e.g., import CIM-EQ dataset along with at least SSH, TP, SV, in one go). | S
IF-3 | CIM Model Import | For Model Parts and their respective objects, that are imported from an external source, the Product shall preserve their UUID/mRID. | S
IF-5 | CIM Model Variation Import | The Product shall support the import of variations of model parts in accordance with IEC CIM and CGMES model exchange standards for all profiles where the standard supports this and in a similar way for other profiles. | S
IF-6 | Import and Export Logging | The Product shall log all import and export operations with information at least on, or equivalent: - outcome of the operation, e.g. success, interrupted, failure - reason for failure and/ or validation result - user/process that initiated the operation - start and end date and time for the operation - duration of the operation - file(s) name, file type(s). | S
IF-15 | CIM Part Export | The Product shall support the export of model parts, model assemblies, case parts and other supported profiles in accordance with IEC CIM and CGMES model exchange standards. | S
IF-16 | CIM Model Variation Export | The Product shall support the export of variations of model parts in accordance with IEC CIM and CGMES model exchange standards for all profiles where the standard supports this and in a similar way for other profiles. | S
IF-22 | Model export | The Product shall provide the option to export an assembled model or the model parts associated with a defined Model Specification. | S
IF-23 | Model export | The Product shall allow exporting previous model or model part versions in CGMES format or its extension. | S
IF-24 | Persistent Export Trail | The Product shall allow exporting the difference between two model versions, selected by the user or API. | S
IF-25 | Change set Export | The Product shall support exporting of change sets stored in any state or status in CIM Incremental format. | S
IF-26 | API | The Product should provide a set of interfaces and services that allow an authorized external applications to execute a Procedure culminating in export. | B5
IF-27 | API | The Product should provide a set of interfaces and services that allow an authorized external application to execute a Procedure culminating in import to an existing or new change set. | B5
IF-28 | Model Variation Classification on Import | The Product should allow to define the types of Model Variations and select one when importing Model Variations. | B3
IF-29 | Name of Import | When importing Model parts or Model Variations the Product should provide the option to change the name of the import or use the import's filename. | B3
IF-35 | Validation Error | On validation failure, the Product should notify the user or process and provide an option for the user / process to continue operation or abort. | B5
IF-36 | Custom Profiles | The Product shall support import without crash of datasets according to custom CIM Profiles and/or extensions to CIM Profiles which have not been defined or extended in the Product, along with logging. Note: this is part of the CGMES 2.4.15 as of Aug 17, 2014. | S
IF-44 | Integration Interfaces | The Product shall support interfaces and integration services that are based on IEC CIM information modeling and profiling methods. | S
IF-45 | Integration Interfaces | The Product shall allow flexible extension of CIM-based integration services without requiring amendment of product code. | S
IF-46 | Information Model | The Product should be capable of handling profiles (translated into schemas) derived from model-driven extensions to IEC CIM family of standards. | B5
IF-47 | Model Extendibility | The Product should support processes for updating the Model schema from new versions of a canonical data model and for transforming Product content from one schema version to the next. | B5
IF-48 | Model Extendibility | The Product information model shall be extensible to support new Object types, attributes and relations. | S
IF-49 | Services as API | The Product shall expose at least core functionality (See Assumption - 2) as standard services available through API. | S
IF-50 | Roles on API | When executing API services, the Product shall enforce roles associated with the user or process blocking actions not associated with a the role initiating the execution. | S
IF-51 | Functional Extendibility | The Product should support extending or creating new built in services through a standard API. | B5
IF-52 | Functional Extendibility | The Product should allow exposing user custom or extend services as API. | B5
IF-53 | User Interface Extendibility | The Product should support extending the standard user interfaces with new views or commands for calling custom or built in services. | B5
IF-54 | Complex Services | The Product should support defining complex services that can call other services exposed through the standard or user extended API. Such complex services should for example be capable of: -importing data into the Product store as a change set or directly into the workspace -merge and export model parts in formats supported by the Product | B5
IF-55 | Automatic Service Execution | The Product should support defining time, periodic or event based user extended or custom services (including usage for notifications on relevant changes). | B3
IF-56 | Services and Workflows | The Product should support associating services with defined [System] workflows (including usage for subscription of interested parties to receive notifications). | B3
IF-59 | Validation Rules through API | The built in and user extended validation rules available in the Product should be available through API. | B3
IF-60 | API- Language | The API shall be based on or expose interfaces in at least one platform-independent language. | S
IF-61 | API- Execution | The Product's API should be executable both within the Product and executed by an external process. | B5
IF-63 | API- Language | If the Product's API is based on python or exposes python interfaces, then the python version should be version 3 or later. | B5
IF-64 | CIM Model Export | The Product should provide the capability to export selection resulting from advanced search (WS-37). | B5
IF-66 | CIM Model Import | The Product shall be able to import Models and Model Parts packaged for both TYNDP (all datasets in one zip file) and CGM (one zip file for each dataset) purposes. | S
IF-67 | CIM Model Export | The Product shall be able to export Models and Model Parts packaged for both TYNDP (all datasets in one zip file) and CGM (one zip file for each dataset) purposes. | S
IF-68 | Custom Profiles | The Product should support import, storage and displaying of datasets according to custom CIM Profiles and/or extensions to CIM Profiles which have not been defined or extended in the Product. | B5
IF-69 | Custom Profiles | The Product should support editing and export of datasets according to custom CIM Profiles and/or extensions to CIM Profiles which have not been defined or extended in the Product. | B3
SEC-1 | Security | A: The Product shall enforces assigned authorizations for controlling access to the system in accordance with applicable Access Control policy. B: The Product shall provide support for defining Access Control Policy by building access control groups and creating for access control structures (roles) for accessing data for analysis and reports. It shall also be possible to set permissions at both row and column level. As an example: - Only authorized users can create, modify or delete an MST1 Model Specification; - Only authorized users can perform a formal model assembly; - etc. Describe your solution. | S
SEC-2 | Security | The Product shall support a zone based model for segmentation and separation of communication (LAN) network resources i.e. servers, clients and databases separated by firewalls. The tenderer shall provide a description of the physical deployment and how it can be realized. In addition, the tenderer shall specify which ports shall be opened between different zones. the specification shall be done in taking into account the minimum needed number of ports. Describe your solution. | S
SEC-3 | Security | The Product enforces separation of duties through assigned access authorizations | S
SEC-4 | Security | The Product shall apply the concept of "least privilege", authorized users (or processes acting on behalf of users) shall not have more privileges than needed to be able to perform its tasks. | S
SEC-5 | Security | The Product shall support blocking users from logging in after a configurable number of failed attempts to login. This requirements is not applicable if a Single Sign On solution (SSO) is included in the Product, i.e. requirement NF-46 (tab 6. "NF") is fulfilled. | S
SEC-6 | Security | The Product shall provide/display a configurable notice on Terms, Conditions and Limitations ("Disclaimer") to users when logging on to the system. | S
SEC-7 | Security | The Product shall support automatically logging out of users after a configurable period of inactivity. The lock shall remain active until the user performs a new successful login. This requirements is not applicable if a Single Sign On solution (SSO) is included in the Product, i.e. requirement NF-46 (tab 6. "NF") is fulfilled. | S
SEC-8 | Security | The Product logout functionality shall delete all session and authentication information that has been stored in, for example, temporary files on the users computer. | S
SEC-9 | Security | The Product shall create log entries containing security related and contextual information. | S
SEC-10 | Security | The Product shall create log entries that contain sufficient information to allow analysis of security related events/breaches. The system shall produce log post from at least the following security-related events: Authentication, successful and failed Authorization, failed Successful, failed use of privileged privileges, detailed tracking Changes and attempts to change security settings and controls Changes and attempts to change permissions, including creation and deletion of accounts Failed changes regarding permissions, including creation and deletion of accounts other Security-related events (if applicable) Start and stop the system Start and stop of services Changes to network settings (if applicable) A single log post shall contain at least information about: Time stamp UTC Where the event occurred, wherever it came from Who performed the event What happened A log event shall not contain: Authentication information such as password or the like Cryptographic Keys Information with higher information class than the log management system is classified to handle Commercial information (copyright material) Describe how the Product logs security-related information. | S
SEC-11 | Security | The Product shall support security log generation to a designated log recipient. | S
SEC-12 | Security | The tenderer shall provide and maintain documentation that describes the delivered base configuration of the Product. | S
SEC-13 | Security | The tenderer shall provide documentation of the delivered configuration settings of the Product for all system components. | S
SEC-14 | Security | The tenderer shall ensure that only functionality essential to achieve expected functionality is enabled in the product, and that all unnecessary and unused functions, protocols, ports and services are disabled on the delivery of the Product. | S
SEC-15 | Security | The tenderer shall provide an updated inventory and associated OEM list of all components included in the Product, on delivery of the system. | S
SEC-16 | Security | The Product shall provide support synchronization and resumption of functionality to an alternative instance of the Product. Describe your solution. | S
SEC-17 | Security | The Product solution shall support backup and restore of user and application data as well as full system backup. It shall be possible to integrate with existing backup and restore solutions. | S
SEC-18 | Security | The Product shall identify and authenticate users (or processes acting on behalf of users). | S
SEC-19 | Security | Password quality checks shall be supported by the Product, this shall include the ability to specify password length, password complexity, passwords change interval, and password reuse policy. This requirement is not applicable if the Product supports integration with Active Directory (AD), i.e. requirement NF-45 (tab 6. "NF") is fulfilled. | S
SEC-20 | Security | The Product shall obscure feedback of authentication information during the authentication process to protect the information from possible exploitation/use by unauthorized individuals. This requirement is not applicable if the Product supports integration with Active Directory (AD), i.e. requirement NF-45 (tab 6. "NF") is fulfilled. | S
SEC-21 | Security | The Product shall authenticate users using cryptographic methods. | S
SEC-22 | Security | The tenderer shall immediately report suspected security deficiencies and incidents to the buyer. | S
SEC-23 | Security | The tenderer shall provide a description of the Maintenance Tools used for the Product maintenance. | S
SEC-24 | Security | A: The tenderer shall ensure that the design and implementation of systems follows good practice for safe development. B: Rules for software and system development shall be available for developers within the tenderer's organization. Describe how your organization fulfills these requirements. | S
SEC-25 | Security | The tenderer shall utilize security test procedures in the development and acquisition of the Product and its components and shall be able to provide test protocols to the buyer. | S
SEC-26 | Security | The Product shall separate interfaces for users and system administrators. | S
SEC-27 | Security | The Product shall prevent information from being transmitted inadvertently or without prior authorization through any shared system resources. | S
SEC-28 | Security | The Product shall terminate a network session at user logout or after a configurable time period of inactivity. This requirements is not applicable if a Single Sign On solution (SSO) is included in the Product, i.e. requirement NF-46 (tab 6. "NF") is fulfilled. | S
SEC-29 | Security | When using cryptography within the Product cryptographic keys shall be created by an automated mechanism (e.g. SSL), with supporting procedure or manual support routines (e.g. creation of certificates and private keys). | S
SEC-30 | Security | The Product shall include malicious code protection incoming and outgoing data. The protection shall include at least Input/ incoming validation. Describe the solution. | S
SEC-31 | Security | The tenderer shall monitor external Security Alerts And Advisories for the standard components and custom libraries included in the Product. The tenderer shall provide regular updates to correct identified security shortcomings. Describe your routine for this. | S
SEC-32 | Security | The Product shall perform checks on input data for integrity and validity. | S
SEC-33 | Security | The Product shall identify and handle error conditions in an expeditious manner without providing details about the error to the user. | S
NF-1 | Vendor Induced Limitation | There should be no license induced limitation on the number of objects managed or stored by the Product, this includes limitation on calculation and validation functionality such as power flow or topology processing. | B5 | The Tenderers proposal shall include no such limits and shall clarify if such limits exist.
NF-2 | Database Capacity | The Product shall have capacity to handle models covering ENTSO-E TSOs model as well as lower voltages at regional and distribution level, the expected capacity shall be at least support for defining - 150 MasterAuthority's (TSOs, HVDC, DSO MAS) - 300 Areas - 22'000 Substations - 200'000 Busbar sections - 40'000 AC Lines - 80'000 ACLineSegment's - 100 DCLines - 200 DCLineSegment's - 25'000 Generators - 25'000 Transformers - 25'000 Loads (includes EquivalentLoad's) - 10'000 Shunts - 1'000'000 Switches and Breakers (numbers inspired from TYNDP interop tests). | S
NF-3 | Performance UI | With simple view and edit operations of the Product System’s user interface, users are not to experience any noticeable delay [ transitions and updates execute within 1 second.] | B5
NF-4 | Performance Complex Operations | The product should merge, validate and present the result of the model part or an assembled model within 1 minute. | B5 | Benchmark is in reference with CIMDESK Desktop ver. 2.3.5 on Windows 7 Enterprise 64 bit running on Pentium Core i5 laptop with 8 GB RAM Laptop] for merging and validating the Swedish EMS model in CIM with 287, 617 CIM objects in less than 1 minute
NF-5 | Performance Data Store Retrieval | The product should load from persistent data store and present the result of real grid model from ENTSO-E within 15 seconds. [note: linear scaling] | B5 | Benchmark is in reference with CIMDESK Desktop ver. 2.3.5 on Windows 7 Enterprise 64 bit running on Pentium Core i5 laptop with 8 GB RAM Laptop] of loading an EMS model in CIM with ~300'000 CIM objects in less than 1 minute from SQL Server 2014 Express edition
NF-6 | Incident management | The tenderer shall have a well defined process for handling ALL incidents and bug reports covering: - Recording, - allocation of priority, - classifying type of incident, - updating of records, escalation, - resolution and closure. | S
NF-7 | Incident management | Describe the process for handling Incidents and bug reports. | B5
NF-8 | Incident management | The tenderer should have clearly defined categories for classifying types of Incidents (e.g.. interface, security, database etc.) | B5
NF-10 | Incident management | The tenderer should have well defined reaction and resolution targets for all Incidents. If the targets cannot be met for an incident the tenderer should inform the buyer. | B5
NF-11 | Incident management | The tenderer should request for an acceptance of resolution from the buyer before closing an incident. | B3
NF-12 | Incident management | The tenderer should have a well defined process for handling serious incidents in need of special attention. | B3
NF-13 | Incident management | The buyer should be able to set and change the priority of an Incident and escalate an Incident if needed. | B3
NF-14 | Change management / CR handling | The tenderer should have a well defined process for defining and handling high priority Change request. | B1
NF-15 | Change management / CR handling | The tenderer should have a process for initiating high priority change request. | B3
NF-16 | Release management | The tenderer should have a well defined process for managing Releases (e.g. fixes, maintenance releases, upgrades, implementing changes, patching etc.). | B5
NF-17 | Change management / CR handling | The tenderer should be able to estimate lead time and delivery times for all proposed changes (CR). | B3
NF-18 | Issue tracking | The tenderer shall use an Issue tracking system registering all Incidents, Changes, Complaints, Issues etc. from the buyer | S
NF-19 | Issue tracking | The buyer should be able to login to the Issue tracking system and see: * Registered issues (Incidents, changes, complaint etc.) * Status of the issues * Ongoing activities * Priority of the issue * Dates for reaction and resolution | B3
NF-20 | Issue tracking | The buyer should be able to register issues directly into the tenderer's issue tracking system | B1
NF-21 | Known errors & bugs | The tenderer should have a known error database, where all bugs and known errors are documented with a description of possible workarounds. | B1
NF-22 | Logging | The Product should have user action logging and system status logging. | B3
NF-23 | Event management | The product should support an interface to send SMS and emails with for example error messages. | B1
NF-24 | Event management | The system should be able to be monitored by third party log monitoring systems. | B3
NF-25 | Documentation | The tenderer shall establish and maintain documents necessary for using and managing the system including: * User documentation * Help guides (Incl. On-line help ) * System documentation (incl. corresponding tools). * Installation documentation * Architectural documentation | S
NF-26 | Reporting | The tenderer shall on a monthly basis report on service targets. | S
NF-27 | Reporting | Content of the service report should include at least: * Number of incidents, of higher priority, dealt with during the report period * Status of Incidents, of higher priority, registered during the report period * List of registered complaints and exceptions with comments from the tenderer * Status of ongoing activities and work being done on incidents and changes * Report on agreed KPI | B5
NF-28 | Testing | The tenderer should provide a baseline hardware configuration recommendation for the platform. | B3
NF-29 | Testing | When performing tests (regression, performance, security, function, load etc.) the tenderer should use the proposed baseline. | B3
NF-30 | Testing | The tenderer should have a documented test strategy defining how tests are managed and executed. | B3
NF-31 | Testing | The tenderer should have a defined process for user acceptance testing. | B3
NF-32 | Customer input | The tenderer should arrange user/client conferences where the buyer have an opportunity to meet other clients/ users of the system. | B1
NF-33 | Customer input | The tenderer should have the means for the buyer (and other customers) to provide feedback, including suggestions for new features. | B3
NF-34 | System development | The tenderer should have a well defined roadmap for the development of the product showing planned releases. | B3
NF-35 | System development | The tenderer should, in the Product development road map, continue to develop PSP modelling constructs as it evolves in the IEC CIM standard. | B5
NF-36 | System development | The tenderer should have the capability and the intention to incorporate user defined features in the core product (request gathering, planning and executing). | B3
NF-39 | Availability | Application maintenance, such as for example a new functional release, should work in a non-disruptive manner for the users. | B3
NF-40 | Availability | Operational maintenance, such as for example database reorganization, should work in a non-disruptive manner for the users. | B3
NF-41 | Reporting | The tenderer should define important KPI:s from a system users viewpoint and show they can be setup and measured (e.g.. response times, up-time/ down-time, number of objects in the database, number of objects added in the last month etc. | B3
NF-42 | Reporting | The tenderer should define important KPI:s from a system technicians viewpoint (maintenance) and show they can be setup and measured (response time in interface, utilization (CPU, RAM etc.), number of database requests etc. | B3
NF-43 | Documentation | The tenderer should, as part of the implementation, have documents describing the functional and technical architecture of the solution including software layers, data/ object model and integration mechanisms, in a logical view and in an implementation view. | B5
NF-44 | Infrastructure | The tenderer should specify the requirements on the network in regards to bandwidth (Quality of Service), availability and response time. | B3
NF-45 | Access | The system should have support for AD integration. | B5
NF-46 | Access | The system should have support for SSO (Single Sign On) compatibility. | B3
NF-47 | Deployment environments | The tenderer shall support a solution for multiple deployment environments (e.g., a production, integration, development and a test/backup). | S
NF-48 | Problem management | The tenderer should have the ability and resources to participate in the buyer-led Problem management activities (potentially on site) such as root cause identification for complex IT-incidents affecting the product. | B5
NF-49 | Recoverability | The Product should isolate error to the specific request in order to minimize system wide failure. | B3
NF-50 | Usability | The user interface should be intuitive and easy to use. Selections should as far as possible be made from lists. Only minimum manual entries should be required. | B5
NF-51 | Usability | The user interface shall present date time stamps in local format and local time zone. | S
NF-52 | Usability | The user interface should include “On-line help” functionality. Information on access method and detail level of the documentation should be described. | B5
NF-53 | Documentation | The Product's API documentation shall be adequately documented, including input and output parameters, expected behaviors and an example of usage. | S
NF-54 | Usability | User actions should be reversible ('undo') and where that is not possible confirmation is clearly sought. | B5
NF-55 | Usability | The system should provide error messages for validation, verification or run-time problems. The error messages should be useful and indicate how to resolve the problem. | B5
NF-56 | Usability | The layout, possible actions and interface components should be consistent throughout the different parts of the user interface. | B3
NF-57 | Usability | The user interface should be usable and look decent at multiple resolutions/window sizes and span multiple screens, e.g. from 1024x768 to 4096x2160 | B5
NF-58 | Usability | All user interface and user interaction messages shall at least be available in English. | S
NF-59 | Usability | The product shall support accents and special characters from various alphabets (used in European TSOs) in text and displays, stored or exhibited by the system. | S
NF-60 | Documentation | All natural language in system artefacts (e.g. diagrams, XML-schemas etc.) and documentation shall be written in English. | S
NF-61 | Release management | When installing an upgraded version of the application, all customizations in the user profiles shall be retained and converted to the new version’s data format if needed. | S
NF-62 | Performance | The product shall support at least 30 simultaneous users without performance degradation on the proposed Platform Baseline, see NF-23 | S
NF-63 | Capacity | The product should have capacity to store all previous versions of the model data for at least ten years. | B5
NF-65 | Training | The tenderer shall provide training targeted at general users, model administrators as well as IT maintenance administrators. | S
NF-68 | Security | The product should include functionality to protect against Denial of Service (DoS) Attacks. | B3
NF-71 | Integration | The integration API shall remain intact and functional after product updates (e.g.. future product versions need to be backward compatible and require minimal changes from an integrations point of view). | S
NF-72 | Integration | The Products information exchange should be initiated with service calls using Enterprise Service Bus technologies (e.g. JMS, WS/SOAP, WS/REST, AMQP). | B5
NF-74 | Integration | The product's services should be uniformly designed meaning: - Using the same communication protocol - Uniform administration (e.g. configuration, installation and rights management) - Using the same information model | B5
NF-75 | Integration | It should be possible to track messages sent and received by the system. | B3
NF-76 | Integration | The system integration interface, API and data format for information exchange shall be well documented: - All services shall have an overall description showing the purpose of the service and also a detailed description of the input and output - All configuration options shall be described as well as configuration settings. | S
NF-77 | Integration | The Product shall support integration according to IEC TC57 integration standards, through technologies including messaging and Web Services (XML and JSON as formats for information exchange). | S
NF-78 | Integration | If the system exchanges information in XML-based format, it should be described / defined in XML Schema (XSD): * Using namespace, namespace should NOT be "default" namespace * use "TargetNameSpace" * Use qualified item names * Use mandatory and non-mandatory fields | B5
NF-79 | Release management | When migrating to the next major Product version, Product shall preserve all information (zero-information loss), or otherwise publish 12 months in advance the plans causing potential information loss or advice for measure to take to prepare. | S
NF-80 | Release management | When migrating to the new Product version, Product shall preserve data consistency. | S
NF-81 | Usability | The Product shall continuously show its processing progress so that the user knows that something is still going on (e.g.., in a status bar, progress bar, ...). | S
NF-82 | Usability | The Product should provide the means to enable a 'live log' displaying progress of long lasting operations. | B5
NF-83 | Usability | The Product shall allow displaying named items of at least 64 characters without horizontal scrolling. | S
NF-84 | Recoverability | The product should have ability to create a backup of Models and Model Parts and load it back. | B5
NF-85 | Usability | The Product should import, validate and be ready for user manipulations of the real grid model from ENTSO-E on the reference hardware platform within 1 minute. Double sized models should not increase the needed time more than 20% . | B5
NF-86 | Usability | The Product should create an export in CGMES of the loaded real grid model from ENTSO-E (all included profiles) within 15 seconds. | B5
NF-87 | Usability | The Product should compare two real grid models from ENTSO-E and present comparison results within 30 seconds. | B5
NF-88 | Usability | The Product should handle and recover from network interruptions without freezing and loss of work. (rationales: smoothly handle micro-unavailability of the LAN, or laptop taking out of Docking station). | B5
NF-89 | Deployment environments | Each environment (eg. test, integration, development or productive) should clearly indicate which one it is (it should be distinguishable through the GUI). | B3
NF-90 | Release management | End of support for 3rd party software (e.g., OS, scripting language, utility library, etc.) shall be done on majoir release version and published 12 months in advance. | S
NF-91 | Usability | The Product shall inherently support CIM method for handling connectivity (terminals and nodes) without requiring user to provide any additional information, so as to satisfy the data items mandatory for data exchange. For example, creating an ACLineSegment would automatically create two Terminal-s, and connecting the ACLineSegment to a Breaker would automatically create a ConnectivityNode if needed. | S

## Glossary of Terms
Term | Acronym | Description
Assembled Model |  | A CGMES Dataset that includes one or more Model Parts that have been assembled or constructed through a set of operations.
Assembly Process |  | A process starting with one or more Model Parts, by applying a set of operations to them, resulting in a Model usable for a given purpose.
Boundary |  | Formal: A CIM Canonical Model abstraction that defines the agreed common CIM Statements between two or more Model Authorities. In practical application: a specification of the self-contained Model Part common for two or more modelling authorities, containing the common CIM data objects. Includes at least EQ and TP datasets. For information: visualising a window with panes, the Boundary specifies the circumference of a piece of lattice.
Bus-Branch Model |  | A simplified network model representation that does not include switching equipment (except for retained switches). It is typically result of topology processing (e.g. in SCADA/EMS environment). It can also be manually created and maintained in off-line study tools used for analysis and planning. The level of granularity are typically substations with a single bus per nominal voltage level.
Canonical Data Model | CDM | An information model defining the agreed common semantics within some scope of integration.
Steady-State Case |  | A CGMES Dataset that includes the input and the output for a steady-state calculation including the operational settings, according to following profiles: EQ+SSH+TP+SV.
Steady-State Variation |  | A CGMES Dataset that includes the input to a steady-state calculation, according to following profiles: diff_EQ+SSH for node-breaker model and diff_EQ+SSH+TP for a bus-branch.
Common Grid Model Exchange Standard | CGMES | IEC 61970-600 series, European profile and extensions of the IEC CIM, used to facilitate the exchange of operational and grid planning data among transmission system operators in Europe.
Change Set | CS | A CGMES Dataset that describes a set of changes to be performed on a network model.
CIM Profiles |  | A subset of the CIM Canonical Model that describes the structure and restriction of the CIM Dataset and provides a valid content for a given data exchange.
CIM DL Profile | DL | Diagram layout defined by IEC 61970-453.
CIM DY Profile | DY | Dynamics data defined by IEC 61970-457.
CIM EQ Profile | EQ | Equipment and connectivity defined by IEC 61970-452.
CIM SSH Profile | SSH | Steady state hypothesis defined by IEC 61970-456.
CIM SV Profile | SV | State variables defined by IEC 61970-456.
CIM TP Profile | TP | Topology defined by IEC 61970-456.
CIM GL Profile | GL | A geographical data profile constructed based on IEC 61970-600-2.
Common Information Model | CIM | Common Information Model (CIM) refers to the work and standards created by IEC TC57 in the 61970-, 61968- and 62325-series with the purpose of creating and sharing the use of a common canonical data model.
Distribution System Operator | DSO | A natural or legal person responsible for operating, ensuring the maintenance of and, if necessary, developing the distribution system in a given area and, where applicable, its interconnections with other systems and for ensuring the long-term ability of the system to meet reasonable demands for the distribution of electricity. [source: DIRECTIVE 2009/72/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL of 13 July 2009 concerning common rules for the internal market in electricity and repealing Directive 2003/54/EC. (via http://data.europa.eu/eli/dir/2009/72/oj).] Note for non-EU markets: Please fill with your market applicable definition if the above does not fit.
Edge Model Part |  | A CIM Pane Model that includes a simplified model for the neighbouring network for preventing dangling references due to CIM Boundary Model and that provides necessary information to support the relevant assembly.
Framework |  | Formal: A CIM Canonical Model abstraction for handling shared modelling, assembling, partitionning and grouping of CIM Model Parts among different model authorities. Also referred to as Model Framework. In practical application: A definition of the decomposition of a CIM power grid model into parts. Consists of Frames and Boundaries. For information: visualising a window with panes, the Framework is the entry "lattice window" in a dictionary. Key: it is not a tangible object, but only an abstraction.
Frame |  | Formal: The part of a Framework that can be unilaterally defined and modelled by a Model Authority and is delimited by a Boundary Part (or Boundary). In practical application: a specification of the self-contained Model Part unique to one modelling authority, containing the non-common CIM data objects. Includes at least EQ and SSH datasets. For information: visualising a window with panes, the Frame specifies the circumference of a glass pane.
Incremental Dataset | CIM Incremental | A CGMES Dataset that describes the differences between two CGMES Datasets with respect to addition of new objects, or deletion of existing objects as well as change of their property values.
Master Resource Identifier | mRID | A CIM Canonical Object identifier. The preferred data type is a UUID, which virtually ensures global uniqueness.
Model Authority |  | A party that is responsible for managing and maintaining a Model Part.
Model (Part) Specification Type | MST | As model can be defined to be made up of various parts, some model definitions are defined for target systems and are controlled, MST allows to identify different types
Model Part |  | A container for network model objects that make up a network modeling building block, which is governed by a Model Part Specification and one Model Authority.
Model Part Specification |  | The Model Part Specification defines the enduring characteristics of the Model Part, including at least: • Name • Model Authority • Purpose • CIM / CGMES Profiles included A Model Part Specification may also have an association to a Frame.
Model Variation |  | A general term for all type of changes that can be done to a CGMES Model. The variation can be divided into structural changes (e.g. construction of a new line), schedule or forecast changes (e.g. operational condition, availability, etc.) and measurement changes.
Node-Breaker Model |  | A detailed representation that includes switching equipment connectivity. For information: The model needs to undergo topology processing in order to produce bus-branch representation as used for steady-state calculations.
Object Registry |  | A facility where Canonical Objects may be registered, and which can maintain an arbitrary number of alternate names used by different systems.
SCADA/EMS model |  | A CIM Model that includes all necessary information to support a steady-state based state estimator. This includes a node-breaker model, measurements and schedules for the full observability area. In additon, it includes measurement exchange (e.g. ICCP configuration) and model of control for the control area (equipment with the operational responsibility).
System Development Planning model |  | A CIM Model that supports planning of power system development. For information: - Models can for instance be used for national coordination between TSO, DSO and SGU. - For Sweden this includes the whole Swedish transmission and regional network from 400 kV to 70 kV. - For Norway this includes the network from 420 kV to 33 kV including transformation to 22 kV. - For Switserland this includes the network from 380 kV to 120 kV. - For The Netherlands this includes the network from 380 kV to 110 kV, including an aggregated representation of the regional networks.
System Developement Planning (SDP) Model |  | A CIM Model that supports the ENTSO-E TYNDP process requirements.
Operation Planning Model |  | A CIM Model that supports ENTSO-E CGM process requirements.
Power System Project (PSP) |  | A CGMES Dataset that includes a change set and the change validity date and conditions.
Application Service |  | An explicitly defined application behviour that is exposed by the Product.
Solved Steady-State Case |  | A case that has been processed by a power flow calculation application, with a solved and acceptable solution. For information: In case of CGMES, solved steady-state case includes both input and output datasets, governed by the following profiles: EQ+SSH+TP+SV.
Target Model |  | An assembled model for a given purpose aimed to support a given tool. For information: Example usage would be target models for SCADA, DTS, Planning, Outage management, Relay and protection settings, Transfer capacity limit calculation.
The Product | Product | A product represents a coherent collection of services and/or passive structure elements, accompanied by a contract/set of agreements, which is offered as a whole to fulfill the present requirements.
Universally Unique Identifier | UUID | A standard for generating universally unique identifers (UUID), sometimes refered to as globally unique identifier (GUID), that is used to support Master Resource Identifer (MRID) in CIM. The generation of the identifier is goverend by a set of RFC standards.
Transmission System Operator | TSO | A natural or legal person responsible for operating, ensuring the maintenance of and, if necessary, developing the transmission system in a given area and, where applicable, its interconnections with other systems, and for ensuring the long-term ability of the system to meet reasonable demands for the transmission of electricity. [source: article 2.4 of EU Directive 2009/72.] Note for non-EU markets: Please fill with your market applicable definition if the above does not fit.
Workspace |  | Workspace is a work-in-progress area of the application environment used by one user. It does not impact any shared data as long as it is not explicitly committed to the global repository. It is a basic unit of concurrency. For information: In CIM Network Model Management, it may contain multiple Model Parts, or multiple versions of the same Model Part on which one user works (for e.g. comparison purposes).

## Standard References
Standard and Conformity Scheme References
Supporting detail for MV-25
Standard and Conformity Scheme reference are up to date on: 2020-04-30
Influencer documents that inspired this work
EPRI report "Network Model Manager and Repository: A Guide to Exploring the Potential of Centralized Network Model Management" |  | http://www.epri.com/abstracts/Pages/ProductAbstract.aspx?ProductId=000000003002000609
EPRI report "Network Model Manager Technical Market Requirements: The Transmission Perspective" |  | http://www.epri.com/abstracts/Pages/ProductAbstract.aspx?ProductId=000000003002003053
ENTSO-E July 2016 (6th) Interoperability test directory |  | https://www.entsoe.eu/digital/cim/cim-conformity-and-interoperability/#cim-interoperability-tests-iop/
ENTSO-E July 2016 (6th) Interoperability report (includes non-approved but reviewed draft profiles Manifest, Contingencies and Unavailbilites) |  | https://www.entsoe.eu/Documents/CIM_documents/IOP/160715_CGMES_IOPreport2016.pdf
IEC Standard Documents (CGMES - current release | Edition | Link
IEC 61970-CGMES:2020 PAC (collection of the below standard) |  | https://webstore.iec.ch/publication/61124
IEC TS 61970-600-1:2017 | ED1 | https://webstore.iec.ch/publication/27556
IEC TS 61970-600-2:2017 | ED1 | https://webstore.iec.ch/publication/32923
IEC 61970-301:2016 | ED6 | https://webstore.iec.ch/publication/59669
IEC 61970-302:2018 | ED1 | https://webstore.iec.ch/publication/29470
IEC 61970-452:2017 | ED3 | https://webstore.iec.ch/publication/30444
IEC 61970-453:2014+AMD1:2018 CSV Consolidated version | ED2.1 | https://webstore.iec.ch/publication/64268
IEC 61970-456:2018 | ED2 | https://webstore.iec.ch/publication/60483
IEC 61970-501:2006 | ED1 | https://webstore.iec.ch/publication/6215
IEC 61970-552:2016 | ED2 | https://webstore.iec.ch/publication/25939
IEC Standard Documents - next release | Edition | Link
IEC 61970-600-1:2020 (FDIS stage) | ED1 (new)
IEC 61970-600-2:2020 (FDIS stage) | ED1 (new)
IEC 61970-301:2020 (FDIS stage) | ED7 (new)
IEC 61970-302:2018 | ED1 | https://webstore.iec.ch/publication/29470
IEC 61970-452:2020 (CDV stage) | ED4
IEC 61970-453:2021 (DC stage) | ED3
IEC 61970-456:2020 (CDV stage) | ED3
IEC 61970-457:2020 (CDV stage) | ED1
IEC 61970-501:2006 | ED1 | https://webstore.iec.ch/publication/6215
IEC 61970-552:2016 | ED2 | https://webstore.iec.ch/publication/25939
Conformity Scheme | Version | Link
CGMES Conformity Assessment Scheme | V2 (2017) | https://www.entsoe.eu/digital/cim/cim-conformity-and-interoperability/#conformity-assessment-scheme
CGMES Conformity Assessment Scheme | V3 (2020) | in preparation, expected by September 2020
CGMES Quality Documents | Version | Link
Quality of CGMES Datasets and Calculations, for System Operations
CGM Implementation Guide (AC Part)
CGM Implementation Guide (DC Part)
Implementation and modelling guide for TYNDP modelling