## Slide 1: Future of balancing: TSOs future challenges and priorities
8-9 October 2026, MESC

## Slide 2: EB Regulation 1.0 delivered major value and largely completed balancing market integration
EU balancing energy platforms (PICASSO, MARI) delivered strong welfare gains: ~€1.2bn economic surplus in 2025
Harmonisation of standard balancing products
Harmonisation of 15-minute Imbalance Settlement Period, for majority of countries
Harmonised Cross-Zonal Capacity Allocation (development in progress)
Market-based procurement of balancing energy and balancing capacity
Imbalance Settlement Harmonisation methodology implementation
EB Reg. 1.0 implementations
With All TSOs joining PICASSO & MARI, only residual efficiency gains from further integration can be expected

## Slide 3: 2035/2040 system outlook
More and closer to real time congestions due to more electrification, decentralised RES and flexibility
More cross‑border flows due to more electrification, RES (in particular, offshore wind) and further flow-based implementation
Harder to maintain frequency stability due to higher and faster variations in productions and forecast uncertainty. The potential lack of inertia is still under investigation.
Stability and observability challenges due to growing role of RES, batteries and power electronics
Lack of sensitivity to the market price signals – imbalances will increasingly depend on local, decentral generation and/or consumption that is not always driven by market price signals.
Developments in the electricity supply system remain challenging to predict.
System evolution

## Slide 4: Emerging challenges for TSOs in system balancing (for next 10-15 years)
Unlock decentral flexibility for balancing and congestion management
RES keep increasing resulting in less centralized, less controllable production
Electrification and large power flows result in more congestions at all voltage levels
TSOs will need new sources of (and potentially more) flexibility, for balancing and local services, due to changes in the electricity production mix, pushing more frequently the fossil fuel energy sources out of the market, therefore not available for balancing (or at the very high price)
TSOs and DSOs will need to collaborate at the local level to accelerate the unlocking of flexibility in medium and low voltage grids, as foreseen in NC DR framework
1
2
3
Manage extreme balancing events​
Increasing RES may result in very large forecast errors (cf. high PV infeed, storm risk for offshore wind,…)​
Dimensioning rules based on historical imbalances and the reference incident may not be sufficient to capture the volatility introduced by RES as forecast errors might exceed these imbalances
Regional synergies in dimensioning may help but will not be sufficient​ (e.g. in case of correlated imbalances across countries, or unavailable cross-border capacity)
Extreme events cannot be managed efficiently by standardised, centralised products only. TSOs must retain the ability to deploy exceptional, context‑specific measures
Get the right flexibility in the right product​
Fragmentation of liquidity is already a reality, and price signals may be inefficient to attract the right flexibility in the right product
Fragmentation risks to increase with procurement of congestion products by TSOs and DSOs​
TSOs and DSOs will need to collaborate to ensure an efficient pooling and activation of flexibility, as foreseen in NC DR framework

## Slide 5: Emerging challenges for TSOs in system balancing (for next 10-15 years)
Liquidity in balancing platforms should be improved to cut costs by addressing technical and product barriers for BSPs, while avoiding indiscriminate lowering of qualification standards and preserving clear, robust requirements, to maintain a good level of system security.
5
4
Increasing efficiency of balancing capacity procurement with the objective to reduce balancing costs
    Possible solutions identified (non-exhaustive list): extend balancing capacity cooperation where relevant, elastic demand, price cap/range, increase liquidity in BC market by further unlocking flexibility in certain markets.
Based on these challenges, the current EB Regulation seems appropriate, and focus should be on NC DR implementation

## Slide 6: Key messages
1
Market integration delivered major value – and will be complete with all TSOs joining PICASSO & MARI.
2
Main future challenges are local, decentral and operational. NCDR implementation will be a priority for the next decade
3
TSOs remain accountable for security and must retain the corresponding tools, considering local public acceptability. Local exceptional measures will remain needed
4
Flexibility must be coordinated locally, not commanded centrally. Role of RCC should remain primarily advisory

## Slide 7: Thank you!