## Read-me
Units
CAPEX | €(2024)/kW
FOM | €(2024)/kW/year
VOM | €(2024)/MWh
Potential | MW
Economic lifetime | years
Activation limit | hours
WACC | %
De-Mothballing | €(2024)/kW
Mothballing FOM | €(2024)/kW/year
LifeTime Extension | €(2024)/kW
LifeTime Extension FOM | €(2024)/kW/year

## Link-info
Please add the for the CONE_VOLL_RS study for your respective zone/country:
Country | Reference | Year of publication
Belgium | Elia (NRAA) | 2025
Czech Republic | MPO | 2023
Denmark | Energstyrelsen | 2024
Germany, Luxembourg | BMWK | 2021
Finland | Energiavirasto | 2023
France | RTE | 2022
Greece | RAE | 2021
Italy | Terna | 2020
Netherlands | ACM | 2022
Slovenia | Eles | 2022
Sweden | EI | 2024
Spain | CNMC (CONE) | 2024
Poland | BIP | 2023
Portugal | DGEG | 2025
Ireland | SEM committee | 2023

## CAPEX
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | Source
BE00 | Gas CCGT new | Expansion | 870 | 870 | 870 | Data from Belgian NRAA (26-36)
BE00 | Gas OCGT new | Expansion | 680 | 680 | 680 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 6 | 0 | 0 | 0 | Data from Belgian NRAA (26-36)
BE00 | Batteries | Battery Storage_6 | 1040 | 1040 | 940 | Data from Belgian NRAA (26-36)
CZ00 | Gas CCGT new | Expansion | 1070 | 1070 | 1070 | CONE study
CZ00 | Gas OCGT new | Expansion | 750 | 750 | 750 | CONE study
CZ00 | DSR | Industry_DSR band 1 | 50 | 50 | 50 | CONE study
DE00 | DSR | Industry_DSR band 1 | 0.6002 | 0.6002 | 0.6002 | CONE study
DE00 | DSR | Commercial_DSR band 1 | 65.476 | 65.476 | 65.476 | CONE study
DE00 | Gas OCGT new | Expansion | 476.6105 | 476.6105 | 476.6105 | CONE study
DKE1 | Gas CCGT new | Expansion | 1078.9529 | 1078.9529 | 1078.9529 | CONE study
DKE1 | Gas OCGT new | Expansion | 576.2589 | 576.2589 | 576.2589 | CONE study
DKW1 | Gas CCGT new | Expansion | 1078.9529 | 1078.9529 | 1078.9529 | CONE study
DKW1 | Gas OCGT new | Expansion | 576.2589 | 576.2589 | 576.2589 | CONE study
EE00 | Gas CCGT new | Expansion | 1112.0802 | 1112.0802 | 1112.0802 | CONE study
EE00 | Gas OCGT new | Expansion | 573.7323 | 573.7323 | 573.7323 | CONE study
ES00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | TSO data
FI00 | Gas OCGT new | Expansion | 512.8956 | 512.8956 | 512.8956 | CONE study
FI00 | DSR | Residential_DSR band 1 | 76.3887 | 76.3887 | 76.3887 | CONE study
FI00 | DSR | Commercial_DSR band 1 | 41.4682 | 41.4682 | 41.4682 | CONE study
FR00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | TSO data
FR00 | DSR | Residential_DSR band 1 | 0 | 0 | 0 | TSO data
FR00 | DSR | Commercial_DSR band 1 | 0 | 0 | 0 | TSO data
GR00 | Gas CCGT new | Expansion | 536.1869 | 536.1869 | 536.1869 | CONE study
GR00 | Gas OCGT new | Expansion | 417.0342 | 417.0342 | 417.0342 | CONE study
GR00 | DSR | Residential_DSR band 1 | 83.4068 | 83.4068 | 83.4068 | CONE study
GR00 | DSR | Commercial_DSR band 1 | 45.278 | 45.278 | 45.278 | CONE study
GR00 | DSR | Industry_DSR band 1 | 29.7882 | 29.7882 | 29.7882 | CONE study
GR00 | DSR | Industry_DSR band 2 | 29.7882 | 29.7882 | 29.7882 | CONE study
GR00 | DSR | Industry_DSR band 3 | 29.7882 | 29.7882 | 29.7882 | CONE study
IE00 | Gas CCGT new | Expansion | 1080.5768 | 1080.5768 | 1080.5768 | CONE study
IE00 | Gas OCGT new | Expansion | 631.4 | 631.4 | 631.4 | CONE study
IT00 | Gas CCGT new | Expansion | 813.8125 | 813.8125 | 813.8125 | CONE study
IT00 | Gas OCGT new | Expansion | 625.5513 | 625.5513 | 625.5513 | CONE study
PL00 | Gas CCGT new | Expansion | 593.8534 | 593.8534 | 593.8534 | CONE study
PL00 | Gas OCGT new | Expansion | 546.6183 | 546.6183 | 546.6183 | CONE study
PT00 | Gas CCGT new | Expansion | 791 | 791 | 791 | CONE study
PT00 | Gas OCGT new | Expansion | 717 | 717 | 717 | CONE study
PT00 | DSR | Industry_DSR band 6 | 55 | 55 | 55 | CONE study
SE00 | DSR | Industry_DSR band 1 | 2.4008 | 2.4008 | 2.4008 | CONE study
SE00 | DSR | Industry_DSR band 2 | 14.3825 | 14.3825 | 14.3825 | CONE study
SE00 | DSR | Residential_DSR band 1 | 32.1313 | 32.1313 | 32.1313 | CONE study
SE00 | DSR | Commercial_DSR band 1 | 830.9986 | 830.9986 | 830.9986 | CONE study
SE00 | Gas CCGT new | Expansion | 730.7119 | 730.7119 | 730.7119 | CONE study
SE00 | Gas OCGT new | Expansion | 183.437 | 183.437 | 183.437 | CONE study
SI00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | CONE study
SI00 | DSR | Residential_DSR band 1 | 220.5906 | 220.5906 | 220.5906 | CONE study
SI00 | Gas CCGT new | Expansion | 1333.8035 | 1333.8035 | 1333.8035 | CONE study
SI00 | Gas OCGT new | Expansion | 615.6016 | 615.6016 | 615.6016 | CONE study

## FOM
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
BE00 | Gas CCGT new | Expansion | 32 | 32 | 32 | 32 | Data from Belgian NRAA (26-36)
BE00 | Gas OCGT new | Expansion | 30 | 30 | 30 | 30 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 1 | 26 | 26 | 26 | 26 | Data from Belgian NRAA (26-36)
CZ00 | Gas CCGT new | Expansion | 32.1 | 32.1 | 32.1 | 32.1 | CONE study
CZ00 | Gas OCGT new | Expansion | 23.4 | 23.4 | 23.4 | 23.4 | CONE study
CZ00 | DSR | Industry_DSR band 1 | 56.4 | 56.4 | 56.4 | 56.4 | CONE study
DE00 | Gas OCGT new | Expansion | 15.4898 | 15.4898 | 15.4898 | 15.4898 | CONE study
DE00 | DSR | Industry_DSR band 1 | 2.1825 | 2.1825 | 2.1825 | 2.1825 | CONE study
DE00 | DSR | Commercial_DSR band 1 | 0.065476 | 0.065476 | 0.065476 | 0.065476 | CONE study
EE00 | Gas CCGT new | Expansion | 37.0274 | 37.0274 | 37.0274 | 37.0274 | CONE study
EE00 | Gas OCGT new | Expansion | 24.6425 | 24.6425 | 24.6425 | 24.6425 | CONE study
FI00 | Gas OCGT new | Expansion | 16.8055 | 16.8055 | 16.8055 | 16.8055 | CONE study
FI00 | DSR | Residential_DSR band 1 | 8.7301 | 8.7301 | 8.7301 | 8.7301 | CONE study
FI00 | DSR | Commercial_DSR band 1 | 8.7301 | 8.7301 | 8.7301 | 8.7301 | CONE study
GR00 | Gas CCGT new | Expansion | 11.9153 | 11.9153 | 11.9153 | 11.9153 | CONE study
GR00 | Gas OCGT new | Expansion | 17.8729 | 17.8729 | 17.8729 | 17.8729 | CONE study
GR00 | DSR | Residential_DSR band 1 | 11.9153 | 11.9153 | 11.9153 | 11.9153 | CONE study
GR00 | DSR | Commercial_DSR band 1 | 10.128 | 10.128 | 10.128 | 10.128 | CONE study
GR00 | DSR | Industry_DSR band 1 | 8.3407 | 8.3407 | 8.3407 | 8.3407 | CONE study
GR00 | DSR | Industry_DSR band 2 | 8.3407 | 8.3407 | 8.3407 | 8.3407 | CONE study
GR00 | DSR | Industry_DSR band 3 | 8.3407 | 8.3407 | 8.3407 | 8.3407 | CONE study
IT00 | Gas CCGT new | Expansion | 38 | 38 | 38 | 38 | CONE study
IT00 | Gas OCGT new | Expansion | 23 | 23 | 23 | 23 | CONE study
SE00 | Gas CCGT new | Expansion | 9.7224 | 9.7224 | 9.7224 | 9.7224 | CONE study
SE00 | Gas OCGT new | Expansion | 6.076 | 6.076 | 6.076 | 6.076 | CONE study
SE00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | CONE study
SE00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | CONE study
SE00 | DSR | Residential_DSR band 1 | 0 | 0 | 0 | 0 | CONE study
SE00 | DSR | Commercial_DSR band 1 | 0 | 0 | 0 | 0 | CONE study
SI00 | Gas CCGT new | Expansion | 49.0799 | 49.0799 | 49.0799 | 49.0799 | CONE study
SI00 | Gas OCGT new | Expansion | 23.5324 | 23.5324 | 23.5324 | 23.5324 | CONE study
SI00 | DSR | Industry_DSR band 1 | 23.9397 | 23.9397 | 23.9397 | 23.9397 | CONE study
SI00 | DSR | Residential_DSR band 1 | 0 | 0 | 0 | 0 | CONE study
BE00 | DSR | Industry_DSR band 2 | 52 | 52 | 52 | 52 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 78 | 78 | 78 | 78 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 105 | 105 | 105 | 105 | Data from Belgian NRAA (26-36)
PL00 | Gas CCGT new | Expansion | 51.3884 | 51.3884 | 51.3884 | 51.3884 | CONE study
PL00 | Gas OCGT new | Expansion | 40.4502 | 40.4502 | 40.4502 | 40.4502 | CONE study
IE00 | Gas CCGT new | Expansion | 67.5418 | 67.5418 | 67.5418 | 67.5418 | CONE study
IE00 | Gas OCGT new | Expansion | 29.24 | 29.24 | 29.24 | 29.24 | CONE study
ES00 | DSR | Industry_DSR band 1 | 296.3 | 296.3 | 296.3 | 296.3 | Data from CONE study
FR00 | DSR | Industry_DSR band 1 | 61.5602 | 61.5602 | 61.5602 | 61.5602 | from TSO expansion constraint
FR00 | DSR | Residential_DSR band 1 | 61.5602 | 61.5602 | 61.5602 | 61.5602 | from TSO expansion constraint
FR00 | DSR | Commercial_DSR band 1 | 61.5602 | 61.5602 | 61.5602 | 61.5602 | from TSO expansion constraint
DKE1 | Gas CCGT new | Expansion | 36.2455 | 36.2455 | 36.2455 | 36.2455 | CONE study
DKE1 | Gas OCGT new | Expansion | 10.098 | 10.098 | 10.098 | 10.098 | CONE study
DKW1 | Gas CCGT new | Expansion | 36.2455 | 36.2455 | 36.2455 | 36.2455 | CONE study
DKW1 | Gas OCGT new | Expansion | 10.098 | 10.098 | 10.098 | 10.098 | CONE study
PT00 | Gas CCGT new | Expansion | 17 | 17 | 17 | 17 | CONE study
PT00 | Gas OCGT new | Expansion | 14 | 14 | 14 | 14 | CONE study
PT00 | DSR | Industry_DSR band 6 | 0.1 | 0.1 | 0.1 | 0.1 | CONE study

## WACC
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
BE00 | Gas CCGT new | Expansion | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | Gas OCGT new | Expansion | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 1 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
CZ00 | Gas CCGT new | Expansion | 7.9% | 7.9% | 7.9% | 7.9% | CONE study
CZ00 | Gas OCGT new | Expansion | 7.9% | 7.9% | 7.9% | 7.9% | CONE study
CZ00 | DSR | Industry_DSR band 1 | 7.7% | 7.7% | 7.7% | 7.7% | CONE study
DE00 | DSR | Industry_DSR band 1 | 10% | 10% | 10% | 10% | CONE study
DE00 | DSR | Commercial_DSR band 1 | 10% | 10% | 10% | 10% | CONE study
EE00 | Gas CCGT new | Expansion | 10% | 10% | 10% | 10% | CONE study
EE00 | Gas OCGT new | Expansion | 10% | 10% | 10% | 10% | CONE study
FI00 | Gas OCGT new | Expansion | 7% | 7% | 7% | 7% | CONE study
FI00 | DSR | Residential_DSR band 1 | 10% | 10% | 10% | 10% | CONE study
FI00 | DSR | Commercial_DSR band 1 | 10% | 10% | 10% | 10% | CONE study
GR00 | Gas CCGT new | Expansion | 7% | 7% | 7% | 7% | CONE study
GR00 | Gas OCGT new | Expansion | 7% | 7% | 7% | 7% | CONE study
GR00 | DSR | Residential_DSR band 1 | 7% | 7% | 7% | 7% | CONE study
GR00 | DSR | Commercial_DSR band 1 | 7% | 7% | 7% | 7% | CONE study
GR00 | DSR | Industry_DSR band 1 | 7% | 7% | 7% | 7% | CONE study
GR00 | DSR | Industry_DSR band 2 | 7% | 7% | 7% | 7% | CONE study
GR00 | DSR | Industry_DSR band 3 | 7% | 7% | 7% | 7% | CONE study
IT00 | Gas CCGT new | Expansion | 5.6% | 5.6% | 5.6% | 5.6% | CONE study
IT00 | Gas OCGT new | Expansion | 5.3% | 5.3% | 5.3% | 5.3% | CONE study
SE00 | Gas CCGT new | Expansion | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SE00 | Gas OCGT new | Expansion | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SE00 | DSR | Industry_DSR band 1 | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SE00 | DSR | Industry_DSR band 2 | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SE00 | DSR | Residential_DSR band 1 | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SE00 | DSR | Commercial_DSR band 1 | 4.39% | 4.39% | 4.39% | 4.39% | CONE study
SI00 | Gas CCGT new | Expansion | 7.79% | 7.79% | 7.79% | 7.79% | CONE study
SI00 | Gas OCGT new | Expansion | 2.5% | 2.5% | 2.5% | 2.5% | CONE study
SI00 | DSR | Industry_DSR band 1 | 3.6% | 3.6% | 3.6% | 3.6% | CONE study
SI00 | DSR | Residential_DSR band 1 | 3.6% | 3.6% | 3.6% | 3.6% | CONE study
BE00 | DSR | Industry_DSR band 2 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 5 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 6 | 4.25% | 4.25% | 4.25% | 4.25% | Data from Belgian NRAA (26-36)
PL00 | Gas CCGT new | Expansion | 10.39% | 10.39% | 10.39% | 10.39% | CONE study
PL00 | Gas OCGT new | Expansion | 8% | 8% | 8% | 8% | CONE study
IE00 | Gas CCGT new | Expansion | 7.27% | 7.27% | 7.27% | 7.27% | CONE study
IE00 | Gas OCGT new | Expansion | 7.27% | 7.27% | 7.27% | 7.27% | CONE study
DE00 | Gas OCGT new | Expansion | 10% | 10% | 10% | 10% | CONE study
DKE1 | Gas CCGT new | Expansion | 5% | 5% | 5% | 5% | CONE study
DKE1 | Gas OCGT new | Expansion | 5% | 5% | 5% | 5% | CONE study
DKW1 | Gas CCGT new | Expansion | 5% | 5% | 5% | 5% | CONE study
DKW1 | Gas OCGT new | Expansion | 5% | 5% | 5% | 5% | CONE study
PT00 | Gas CCGT new | Expansion | 5.54% | 5.54% | 5.54% | 5.54% | CONE study
PT00 | Gas OCGT new | Expansion | 5.54% | 5.54% | 5.54% | 5.54% | CONE study
PT00 | DSR | Industry_DSR band 6 | 6% | 6% | 6% | 6% | CONE study

## Potential
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
AT00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | From Central approach.
AT00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | From Central approach.
AT00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | From Central approach.
AT00 | DSR | Industry_DSR band 4 | 69 | 69 | 69 | 69 | From Central approach.
AT00 | DSR | Industry_DSR band 5 | 245 | 245 | 245 | 245 | From Central approach.
AT00 | DSR | Industry_DSR band 6 | 129 | 129 | 129 | 129 | From Central approach.
BE00 | DSR | Industry_DSR band 1 | 300 | 300 | 300 | 300 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 2 | 300 | 300 | 300 | 300 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 0 | 300 | 300 | 300 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 0 | 0 | 450 | 750 | Data from Belgian NRAA (26-36)
BE00 | Batteries | Battery Storage_4 | 1449 | 2027.1 | 2923.335 | 3371.4525 | Data from Belgian NRAA (26-36)
BG00 | DSR | Industry_DSR band 1 | 66 | 66 | 66 | 66 | From Central approach.
BG00 | DSR | Industry_DSR band 2 | 45 | 45 | 45 | 45 | From Central approach.
BG00 | DSR | Industry_DSR band 3 | 67 | 67 | 67 | 67 | From Central approach.
BG00 | DSR | Industry_DSR band 4 | 70 | 70 | 70 | 70 | From Central approach.
BG00 | DSR | Industry_DSR band 5 | 57 | 57 | 57 | 57 | From Central approach.
BG00 | DSR | Industry_DSR band 6 | 98 | 98 | 98 | 98 | From Central approach.
CH00 | DSR | Industry_DSR band 1 | 0.1 | 0.1 | 0.1 | 0.1 | From TSO expansion constraint
CH00 | Hydrogen CCGT new | Expansion | 0 | 0.1 | 0.1 | 0.1 | From TSO expansion constraint
CH00 | Hydrogen OCGT new | Expansion | 0 | 0.1 | 0.1 | 0.1 | From TSO expansion constraint
CH00 | Gas CCGT new | Expansion | 0 | 0.1 | 0.1 | 0.1 | From TSO expansion constraint
CH00 | Gas OCGT new | Expansion | 0 | 250 | 1020 | 1720 | From TSO expansion constraint
CH00 | Batteries | Battery Storage_6 | 117.05 | 188.88 | 277.745 | 336.98 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 1 | 1 | 1 | 1 | 1 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | From TSO expansion constraint
CY00 | DSR | Industry_DSR band 6 | 0 | 0 | 0 | 0 | From TSO expansion constraint
CZ00 | DSR | Industry_DSR band 1 | 0.01 | 95.3 | 370.8 | 549.7 | From TSO expansion constraint
CZ00 | Hydrogen CCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
CZ00 | Hydrogen OCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
DE00 | DSR | Industry_DSR band 1 | 274 | 274 | 274 | 274 | TSO data
DE00 | DSR | Commercial_DSR band 1 | 551 | 551 | 551 | 551 | TSO data
DKE1 | DSR | Industry_DSR band 1 | 5 | 5 | 5 | 5 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKE1 | DSR | Industry_DSR band 2 | 16 | 16 | 16 | 16 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKE1 | DSR | Industry_DSR band 3 | 23 | 23 | 23 | 23 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKE1 | DSR | Industry_DSR band 4 | 59 | 59 | 59 | 59 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKE1 | DSR | Industry_DSR band 5 | 25 | 25 | 25 | 25 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKE1 | DSR | Industry_DSR band 6 | 38 | 38 | 38 | 38 | From Central approach. Share of DKE1 of total DK potential computed based on the share of annual demand for 2025 (34,5%).
DKW1 | DSR | Industry_DSR band 1 | 10 | 10 | 10 | 10 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
DKW1 | DSR | Industry_DSR band 2 | 31 | 31 | 31 | 31 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
DKW1 | DSR | Industry_DSR band 3 | 43 | 43 | 43 | 43 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
DKW1 | DSR | Industry_DSR band 4 | 112 | 112 | 112 | 112 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
DKW1 | DSR | Industry_DSR band 5 | 48 | 48 | 48 | 48 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
DKW1 | DSR | Industry_DSR band 6 | 71 | 71 | 71 | 71 | From Central approach. Share of DKW1 of total DK potential computed based on the share of annual demand for 2025 (65,5%).
EE00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
EE00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
EE00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
EE00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
EE00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
EE00 | DSR | Industry_DSR band 6 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
ES00 | DSR | Industry_DSR band 1 | 875 | 875 | 875 | 875 | From TSO expansion constraint
ES00 | Hydrogen CCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
ES00 | Hydrogen OCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
ES00 | Gas CCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
ES00 | Gas OCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
ES00 | Batteries | Battery Storage_4 | 3920 | 3688 | 3519 | 3402 | From TSO expansion constraint
FI00 | DSR | Residential_DSR band 1 | 300 | 500 | 800 | 1000 | Total potential of 1000 MW split for the 10-year time horizon
FI00 | DSR | Commercial_DSR band 1 | 300 | 500 | 800 | 1000 | Total potential of 1000 MW split for the 10-year time horizon
FI00 | Batteries | Battery Storage_2 | 800 | 1000 | 1000 | 1000 | TSO data
GR00 | Batteries | Battery Storage_4 | 700 | 1100 | 1196 | 1260 | Linear interpolation from 2030 and 2035 value of 1260
SI00 | Batteries | Battery Storage_2 | 711 | 711 | 711 | 711 | From TSO expansion constraint
FR00 | DSR | Industry_DSR band 1 | 162 | 324 | 425 | 376 | from TSO expansion constraint
FR00 | DSR | Residential_DSR band 1 | 267 | 535 | 702 | 1299 | from TSO expansion constraint
FR00 | DSR | Commercial_DSR band 1 | 371 | 742 | 974 | 1025 | from TSO expansion constraint
GR00 | DSR | Residential_DSR band 1 | 173 | 193 | 195 | 195 | Linear interpolation from 2030 and 2035 value of 197.008866438356
GR00 | DSR | Commercial_DSR band 1 | 918 | 1023 | 1034 | 1034 | Linear interpolation from 2030 and 2035 value of 1042.97445205479
GR00 | DSR | Industry_DSR band 1 | 277 | 308 | 312 | 312 | Linear interpolation from 2030 and 2035 value of 314.221130136986
GR00 | DSR | Industry_DSR band 2 | 83 | 93 | 94 | 94 | Linear interpolation from 2030 and 2035 value of 94.5799657534247
GR00 | DSR | Industry_DSR band 3 | 150 | 167 | 169 | 169 | Linear interpolation from 2030 and 2035 value of 170.702705479452
HR00 | DSR | Industry_DSR band 1 | 11 | 11 | 11 | 11 | From Central approach.
HR00 | DSR | Industry_DSR band 2 | 40 | 40 | 40 | 40 | From Central approach.
HR00 | DSR | Industry_DSR band 3 | 21 | 21 | 21 | 21 | From Central approach.
HR00 | DSR | Industry_DSR band 4 | 37 | 37 | 37 | 37 | From Central approach.
HR00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | From Central approach.
HR00 | DSR | Industry_DSR band 6 | 7 | 7 | 7 | 7 | From Central approach.
HU00 | DSR | Industry_DSR band 1 | 43 | 43 | 43 | 43 | From explicit DSR potential survey.
HU00 | DSR | Commercial_DSR band 1 | 19 | 19 | 19 | 19 | From explicit DSR potential survey.
ITCA | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITCA | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITCA | Gas CCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITCA | Gas OCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITCN | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITCN | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITCN | Gas CCGT new | Expansion | 0 | 1000 | 1000 | 1000 | from TSO expansion constraint
ITCN | Gas OCGT new | Expansion | 0 | 1000 | 1000 | 1000 | from TSO expansion constraint
ITCS | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITCS | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITCS | Gas CCGT new | Expansion | 0 | 1000 | 1000 | 1000 | from TSO expansion constraint
ITCS | Gas OCGT new | Expansion | 0 | 1000 | 1000 | 1000 | from TSO expansion constraint
ITN1 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITN1 | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITN1 | Gas CCGT new | Expansion | 0 | 2800 | 2800 | 2800 | from TSO expansion constraint
ITN1 | Gas OCGT new | Expansion | 0 | 2800 | 2800 | 2800 | from TSO expansion constraint
ITS1 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITS1 | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITS1 | Gas CCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITS1 | Gas OCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITSA | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITSI | Batteries | Battery Storage_4 | 0 | 100 | 100 | 100 | from TSO expansion constraint
ITSI | Gas CCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITSI | Gas OCGT new | Expansion | 0 | 800 | 800 | 800 | from TSO expansion constraint
ITSI | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITSA | Batteries | Battery Storage_4 | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITSA | Gas CCGT new | Expansion | 0 | 0 | 0 | 0 | from TSO expansion constraint
ITSA | Gas OCGT new | Expansion | 0 | 0 | 0 | 0 | from TSO expansion constraint
LT00 | DSR | Industry_DSR band 1 | 1 | 1 | 1 | 1 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LT00 | DSR | Industry_DSR band 2 | 19 | 19 | 19 | 19 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LT00 | DSR | Industry_DSR band 3 | 39 | 39 | 39 | 39 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LT00 | DSR | Industry_DSR band 4 | 48 | 48 | 48 | 48 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LT00 | DSR | Industry_DSR band 5 | 13 | 13 | 13 | 13 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LT00 | DSR | Industry_DSR band 6 | 42 | 42 | 42 | 42 | From Central approach. DSR in PEMMDB is district heating: not removed from central estimate.
LV00 | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
LV00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
LV00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
LV00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
LV00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
LV00 | DSR | Industry_DSR band 6 | 0 | 0 | 0 | 0 | From Central approach. PEMMDB capacity > estimated potential
MT00 | DSR | industry_DSR band 1 | 0 | 0 | 0 | 0 | From TSO expansion constraint
NL00 | DSR | Industry_DSR band 1 | 290 | 300 | 300 | 300 | From explicit DSR potential survey.
NL00 | DSR | Industry_DSR band 2 | 135 | 150 | 150 | 150 | From explicit DSR potential survey. Potentials here are for the total DSR potential for NL, which includes the 700 MW DSR 'existing' capacity provided in the PEMMDB 'National Trends'. Thus, the 'additional' new investment potential for DSR is the total of the values provided here, subtract the 700 MW included in the PEMMDB. This 700 MW should e.g. be taken from the closest price band.
NL00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | From explicit DSR potential survey. Potentials here are for the total DSR potential for NL, which includes the 700 MW DSR 'existing' capacity provided in the PEMMDB 'National Trends'. Thus, the 'additional' new investment potential for DSR is the total of the values provided here, subtract the 700 MW included in the PEMMDB. This 700 MW should e.g. be taken from the closest price band.
NL00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | From explicit DSR potential survey. Potentials here are for the total DSR potential for NL, which includes the 700 MW DSR 'existing' capacity provided in the PEMMDB 'National Trends'. Thus, the 'additional' new investment potential for DSR is the total of the values provided here, subtract the 700 MW included in the PEMMDB. This 700 MW should e.g. be taken from the closest price band.
NL00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | From explicit DSR potential survey. Potentials here are for the total DSR potential for NL, which includes the 700 MW DSR 'existing' capacity provided in the PEMMDB 'National Trends'. Thus, the 'additional' new investment potential for DSR is the total of the values provided here, subtract the 700 MW included in the PEMMDB. This 700 MW should e.g. be taken from the closest price band.
NL00 | DSR | Industry_DSR band 6 | 45 | 60 | 60 | 60 | From explicit DSR potential survey. Potentials here are for the total DSR potential for NL, which includes the 700 MW DSR 'existing' capacity provided in the PEMMDB 'National Trends'. Thus, the 'additional' new investment potential for DSR is the total of the values provided here, subtract the 700 MW included in the PEMMDB. This 700 MW should e.g. be taken from the closest price band.
NL00 | DSR | Industry_DSR band 7 | 440 | 450 | 450 | 450 | From explicit DSR potential survey.
NL00 | DSR | Industry_DSR band 8 | 120 | 120 | 120 | 120 | From explicit DSR potential survey.
NL00 | DSR | Industry_DSR band 9 | 100 | 100 | 100 | 100 | From explicit DSR potential survey.
NL00 | DSR | Industry_DSR band 10 | 1800 | 1940 | 1940 | 1940 | From explicit DSR potential survey.
NOM1 | DSR | Industry_DSR band 1 | 208 | 208 | 208 | 208 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NOM1 | DSR | Industry_DSR band 2 | 31 | 31 | 31 | 31 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NOM1 | DSR | Industry_DSR band 3 | 59 | 59 | 59 | 59 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NOM1 | DSR | Industry_DSR band 4 | 46 | 46 | 46 | 46 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NOM1 | DSR | Industry_DSR band 5 | 21 | 21 | 21 | 21 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NOM1 | DSR | Industry_DSR band 6 | 57 | 57 | 57 | 57 | From Central approach. Share of NOM1 of total NO potential computed based on the share of annual demand for 2025 (19,8%).
NON1 | DSR | Industry_DSR band 1 | 146 | 146 | 146 | 146 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NON1 | DSR | Industry_DSR band 2 | 22 | 22 | 22 | 22 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NON1 | DSR | Industry_DSR band 3 | 42 | 42 | 42 | 42 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NON1 | DSR | Industry_DSR band 4 | 32 | 32 | 32 | 32 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NON1 | DSR | Industry_DSR band 5 | 15 | 15 | 15 | 15 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NON1 | DSR | Industry_DSR band 6 | 40 | 40 | 40 | 40 | From Central approach. Share of NON1 of total NO potential computed based on the share of annual demand for 2025 (13,9%).
NOS1 | DSR | Industry_DSR band 1 | 278 | 278 | 278 | 278 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS1 | DSR | Industry_DSR band 2 | 41 | 41 | 41 | 41 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS1 | DSR | Industry_DSR band 3 | 79 | 79 | 79 | 79 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS1 | DSR | Industry_DSR band 4 | 61 | 61 | 61 | 61 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS1 | DSR | Industry_DSR band 5 | 28 | 28 | 28 | 28 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS1 | DSR | Industry_DSR band 6 | 76 | 76 | 76 | 76 | From Central approach. Share of NOS1 of total NO potential computed based on the share of annual demand for 2025 (26,5%).
NOS2 | DSR | Industry_DSR band 1 | 286 | 286 | 286 | 286 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS2 | DSR | Industry_DSR band 2 | 42 | 42 | 42 | 42 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS2 | DSR | Industry_DSR band 3 | 81 | 81 | 81 | 81 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS2 | DSR | Industry_DSR band 4 | 63 | 63 | 63 | 63 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS2 | DSR | Industry_DSR band 5 | 29 | 29 | 29 | 29 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS2 | DSR | Industry_DSR band 6 | 78 | 78 | 78 | 78 | From Central approach. Share of NOS2 of total NO potential computed based on the share of annual demand for 2025 (27,2%).
NOS3 | DSR | Industry_DSR band 1 | 133 | 133 | 133 | 133 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
NOS3 | DSR | Industry_DSR band 2 | 20 | 20 | 20 | 20 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
NOS3 | DSR | Industry_DSR band 3 | 38 | 38 | 38 | 38 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
NOS3 | DSR | Industry_DSR band 4 | 29 | 29 | 29 | 29 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
NOS3 | DSR | Industry_DSR band 5 | 14 | 14 | 14 | 14 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
NOS3 | DSR | Industry_DSR band 6 | 36 | 36 | 36 | 36 | From Central approach. Share of NOS3 of total NO potential computed based on the share of annual demand for 2025 (12,7%).
PL00 | DSR | Industry_DSR band 1 | 1019.5 | 1189 | 2500 | 2500 | From TSO expansion constraint
PL00 | DSR | Residential_DSR band 1 | 0 | 0 | 0 | 0 | From TSO expansion constraint
PL00 | DSR | Commercial_DSR band 1 | 0 | 0 | 0 | 0 | From TSO expansion constraint
PL00 | DSR | Other_DSR band 1 | 0 | 0 | 0 | 0 | From TSO expansion constraint
PL00 | Gas CCGT new | Expansion | 0 | 1 | 2000 | 8000 | from TSO expansion constraint
PL00 | Gas OCGT new | Expansion | 0 | 1 | 2500 | 10000 | from TSO expansion constraint
RO00 | DSR | Industry_DSR band 1 | 147 | 147 | 147 | 147 | From Central approach.
RO00 | DSR | Industry_DSR band 2 | 94 | 94 | 94 | 94 | From Central approach.
RO00 | DSR | Industry_DSR band 3 | 141 | 141 | 141 | 141 | From Central approach.
RO00 | DSR | Industry_DSR band 4 | 116 | 116 | 116 | 116 | From Central approach.
RO00 | DSR | Industry_DSR band 5 | 187 | 187 | 187 | 187 | From Central approach.
RO00 | DSR | Industry_DSR band 6 | 118 | 118 | 118 | 118 | From Central approach.
SE00 | DSR | Industry_DSR band 1 | 150 | 150 | 150 | 150 | TSO data
SE00 | DSR | Industry_DSR band 2 | 530 | 530 | 530 | 530 | TSO data
SE00 | DSR | Residential_DSR band 1 | 4160 | 4160 | 4160 | 4160 | TSO data
SE00 | DSR | Commercial_DSR band 1 | 560 | 560 | 560 | 560 | TSO data
SI00 | DSR | Industry_DSR band 1 | 85 | 85 | 85 | 85 | TSO data
SI00 | DSR | Residential_DSR band 1 | 40 | 40 | 40 | 40 | TSO data
SK00 | DSR | Industry_DSR band 1 | 78 | 78 | 78 | 78 | From Central approach.
SK00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | From Central approach.
SK00 | DSR | Industry_DSR band 3 | 3 | 3 | 3 | 3 | From Central approach.
SK00 | DSR | Industry_DSR band 4 | 42 | 42 | 42 | 42 | From Central approach.
SK00 | DSR | Industry_DSR band 5 | 127 | 127 | 127 | 127 | From Central approach.
SK00 | DSR | Industry_DSR band 6 | 64 | 64 | 64 | 64 | From Central approach.
UK00 | DSR | Industry_DSR band 1 | 2810 | 3577 | 4483.49 | 5071.4 | from TSO expansion constraint
UK00 | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | Outside EU
UK00 | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | Outside EU
UK00 | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | Outside EU
UK00 | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | Outside EU
UK00 | DSR | Industry_DSR band 6 | 0 | 0 | 0 | 0 | Outside EU
UK00 | Gas CCGT new | Expansion | 0 | 33799.78 | 25057.28 | 23405.28 | from TSO expansion constraint
UK00 | Gas OCGT new | Expansion | 0 | 3672.89 | 3053.89 | 3053.89 | from TSO expansion constraint
UKNI | DSR | Industry_DSR band 1 | 0 | 0 | 0 | 0 | Outside EU
UKNI | DSR | Industry_DSR band 2 | 0 | 0 | 0 | 0 | Outside EU
UKNI | DSR | Industry_DSR band 3 | 0 | 0 | 0 | 0 | Outside EU
UKNI | DSR | Industry_DSR band 4 | 0 | 0 | 0 | 0 | Outside EU
UKNI | DSR | Industry_DSR band 5 | 0 | 0 | 0 | 0 | Outside EU
UKNI | DSR | Industry_DSR band 6 | 0 | 0 | 0 | 0 | Outside EU
FI00 | Gas CCGT new | Expansion | 0 | 0 | 0 | 0 | Missing from CONE data
FI00 | Gas OCGT new | Expansion | 0 | 10000 | 10000 | 10000 | Values for 2025-6-7 replaced by 0 to account for construction time. Original values: 5000, 7500 and 10000 MW.
FR00 | Gas CCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
FR00 | Gas OCGT new | Expansion | 0 | 0 | 0 | 0 | From TSO expansion constraint
GR00 | Gas CCGT new | Expansion | 0 | 2652 | 2652 | 2652 | Values for 2025-6-7 replaced by 0 to account for construction time. Original values: 1226, 2052, 2052 MW.
GR00 | Gas OCGT new | Expansion | 0 | 0 | 0 | 0
SI00 | Gas CCGT new | Expansion | 0 | 120 | 120 | 120 | Values for 2025-6-7 replaced by 0 to account for construction time. Original values: 120, 120, 120 MW.
SI00 | Gas OCGT new | Expansion | 0 | 56 | 56 | 56 | Values for 2025-6-7 replaced by 0 to account for construction time. Original values: 56, 56, 56 MW.
FR00 | Hydrogen CCGT new | Expansion | 0 | 150 | 475 | 800 | From TSO expansion constraint
FR00 | Hydrogen OCGT new | Expansion | 0 | 700 | 1600 | 2500 | From TSO expansion constraint
PT00 | Gas CCGT new | Expansion | 0 | 0 | 0 | 0
PT00 | Gas OCGT new | Expansion | 0 | 0 | 0 | 0
PT00 | Hydrogen CCGT new | Expansion | 0 | 0 | 0 | 0
PT00 | Hydrogen OCGT new | Expansion | 0 | 0 | 0 | 0
PT00 | DSR | Industry_DSR band 6 | 700 | 700 | 700 | 700
PT00 | Batteries | Battery Storage_2 | 200 | 125 | 212.5 | 312.5
PT00 | Batteries | Battery Storage_4 | 200 | 125 | 212.5 | 312.5
UA00 | Gas CCGT new | Expansion | 0 | 45 | 210 | 50 | From TSO expansion constraint
UA00 | Gas OCGT new | Expansion | 0 | 20 | 200 | 50 | From TSO expansion constraint

## Economic Lifetime
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
BE00 | Gas CCGT new | Expansion | 20 | 20 | 20 | 20 | Data from Belgian NRAA (26-36)
BE00 | Gas OCGT new | Expansion | 20 | 20 | 20 | 20 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 1 | 10 | 10 | 10 | 10 | TSO data
BE00 | DSR | Industry_DSR band 2 | 10 | 10 | 10 | 10 | TSO data
BE00 | DSR | Industry_DSR band 3 | 10 | 10 | 10 | 10 | TSO data
BE00 | DSR | Industry_DSR band 4 | 10 | 10 | 10 | 10 | TSO data
CZ00 | Gas CCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
CZ00 | Gas OCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
CZ00 | DSR | Industry_DSR band 1 | 4 | 4 | 4 | 4 | CONE study
DE00 | DSR | Industry_DSR band 1 | 10 | 10 | 10 | 10 | Avergae from CONE Studies
DE00 | DSR | Commercial_DSR band 1 | 10 | 10 | 10 | 10 | Avergae from CONE Studies
EE00 | Gas CCGT new | Expansion | 25 | 25 | 25 | 25 | CONE study
FI00 | Gas OCGT new | Expansion | 25 | 25 | 25 | 25 | CONE study
FI00 | DSR | Residential_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
FI00 | DSR | Commercial_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
GR00 | Gas CCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
GR00 | Gas OCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
GR00 | DSR | Residential_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
GR00 | DSR | Commercial_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
GR00 | DSR | Industry_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
GR00 | DSR | Industry_DSR band 2 | 15 | 15 | 15 | 15 | CONE study
GR00 | DSR | Industry_DSR band 3 | 15 | 15 | 15 | 15 | CONE study
IT00 | Gas CCGT new | Expansion | 22.5 | 22.5 | 22.5 | 22.5 | CONE study
IT00 | Gas OCGT new | Expansion | 25 | 25 | 25 | 25 | CONE study
SE00 | Gas CCGT new | Expansion | 25 | 25 | 25 | 25 | CONE study
SE00 | Gas OCGT new | Expansion | 25 | 25 | 25 | 25 | CONE study
SE00 | DSR | Industry_DSR band 1 | 10 | 10 | 10 | 10 | CONE study
SE00 | DSR | Industry_DSR band 2 | 10 | 10 | 10 | 10 | CONE study
SE00 | DSR | Residential_DSR band 1 | 10 | 10 | 10 | 10 | CONE study
SE00 | DSR | Commercial_DSR band 1 | 10 | 10 | 10 | 10 | CONE study
SI00 | Gas CCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
SI00 | Gas OCGT new | Expansion | 30 | 30 | 30 | 30 | CONE study
SI00 | DSR | Industry_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
SI00 | DSR | Residential_DSR band 1 | 15 | 15 | 15 | 15 | CONE study
PT00 | Gas CCGT new | Expansion | 25 | 25 | 25 | 25 | TSO data
PT00 | Gas OCGT new | Expansion | 25 | 25 | 25 | 25 | TSO data
PT00 | DSR | Industry_DSR band 6 | 5 | 5 | 5 | 5 | TSO data

## DSR Activation Price
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
BE00 | DSR | Industry_DSR band 1 | 736.73 | 736.73 | 736.73 | 736.73 | Data from Belgian NRAA (26-36)
CZ00 | DSR | Industry_DSR band 2 | 500 | 500 | 500 | 500 | From TSO expansion constraint
DE00 | DSR | Industry_DSR band 1 | 522.5979 | 522.5979 | 522.5979 | 522.5979 | TSO data
DE00 | DSR | Commercial_DSR band 1 | 12 | 12 | 12 | 12 | TSO data
FI00 | DSR | Residential_DSR band 1 | 9.5725 | 9.5725 | 9.5725 | 9.5725 | TSO data
FI00 | DSR | Commercial_DSR band 1 | 9.5725 | 9.5725 | 9.5725 | 9.5725 | TSO data
GR00 | DSR | Residential_DSR band 1 | 1741.993 | 1741.993 | 1741.993 | 1741.993 | TSO data
GR00 | DSR | Commercial_DSR band 1 | 4064.6504 | 4064.6504 | 4064.6504 | 4064.6504 | TSO data
GR00 | DSR | Industry_DSR band 1 | 290.3322 | 290.3322 | 290.3322 | 290.3322 | TSO data
GR00 | DSR | Industry_DSR band 2 | 580.6643 | 580.6643 | 580.6643 | 580.6643 | TSO data
GR00 | DSR | Industry_DSR band 3 | 1741.993 | 1741.993 | 1741.993 | 1741.993 | TSO data
SE00 | DSR | Industry_DSR band 1 | 1945.3435 | 1945.3435 | 1945.3435 | 1945.3435 | TSO data
SE00 | DSR | Industry_DSR band 2 | 11.1 | 11.1 | 11.1 | 11.1 | TSO data
SE00 | DSR | Residential_DSR band 1 | 278.3 | 278.3 | 278.3 | 278.3 | TSO data
SE00 | DSR | Commercial_DSR band 1 | 556.6 | 556.6 | 556.6 | 556.6 | TSO data
SI00 | DSR | Industry_DSR band 1 | 278.7189 | 278.7189 | 278.7189 | 278.7189 | TSO data
SI00 | DSR | Residential_DSR band 1 | 61.5504 | 61.5504 | 61.5504 | 61.5504 | TSO data
NL00 | DSR | Industry_DSR band 1 | 81.293 | 69.6797 | 69.6797 | 69.6797 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 2 | 197.4259 | 197.4259 | 197.4259 | 197.4259 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 3 | 278.7189 | 267.1056 | 267.1056 | 267.1056 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 4 | 429.6916 | 406.465 | 406.465 | 406.465 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 5 | 696.7972 | 673.5706 | 673.5706 | 673.5706 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 6 | 963.9028 | 963.9028 | 963.9028 | 963.9028 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 7 | 1312.3014 | 1300.6881 | 1300.6881 | 1300.6881 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 8 | 3751.0917 | 3681.412 | 3681.412 | 3681.412 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 9 | 3774.3183 | 3623.3455 | 3623.3455 | 3623.3455 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
NL00 | DSR | Industry_DSR band 10 | 5597.6043 | 4819.5141 | 4819.5141 | 4819.5141 | Central assumption (Country specfic from explicit DSR potential survey.prices depending on minimum and maximum shut down time (hours))
HU00 | DSR | Industry_DSR band 1 | 450 | 450 | 450 | 450 | Central assumption - same as SI00 residential DSR
HU00 | DSR | Commercial_DSR band 1 | 450 | 450 | 450 | 450 | TSO data
BE00 | DSR | Industry_DSR band 2 | 1500 | 1500 | 1500 | 1500 | TSO data
BE00 | DSR | Industry_DSR band 3 | 2000 | 2000 | 2000 | 2000 | TSO data
BE00 | DSR | Industry_DSR band 4 | 2500 | 2500 | 2500 | 2500 | TSO data
PL00 | DSR | Industry_DSR band 1 | 4571 | 4571 | 4571 | 4571 | TSO data
ES00 | DSR | Industry_DSR band 1 | 700 | 700 | 700 | 700 | TSO data
FR00 | DSR | Industry_DSR band 1 | 350 | 350 | 350 | 350 | TSO data
FR00 | DSR | Residential_DSR band 1 | 350 | 350 | 350 | 350 | TSO data
FR00 | DSR | Commercial_DSR band 1 | 350 | 350 | 350 | 350 | TSO data
PT00 | DSR | Industry_DSR band 6 | 4400 | 4400 | 4400 | 4400 | TSO data

## Activation Limit
Node | PEMMDB Technology | Reference Technology | 2028 | 2030 | 2033 | 2035 | Source
BE00 | DSR | Industry_DSR band 1 | 4 | 4 | 4 | 4 | Data from Belgian NRAA (26-36)
CZ00 | DSR | Industry_DSR band 1 | 7 | 7 | 7 | 7 | Data from Belgian NRAA (26-36)
DE00 | DSR | Industry_DSR band 1 | 2 | 2 | 2 | 2 | Data from Belgian NRAA (26-36)
DE00 | DSR | Commercial_DSR band 1 | 2 | 2 | 2 | 2 | Data from Belgian NRAA (26-36)
FI00 | DSR | Residential_DSR band 1 | 3 | 3 | 3 | 3 | Country specific from explicit DSR potential survey.
FI00 | DSR | Commercial_DSR band 1 | 4 | 4 | 4 | 4 | Country specific from explicit DSR potential survey.
GR00 | DSR | Residential_DSR band 1 | 3 | 3 | 3 | 3 | Avergae of Residential DSR from explicit DSR potential survey.
GR00 | DSR | Commercial_DSR band 1 | 3 | 3 | 3 | 3 | Avergae of Commercial DSR from explicit DSR potential survey.
GR00 | DSR | Industry_DSR band 1 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
GR00 | DSR | Industry_DSR band 2 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
GR00 | DSR | Industry_DSR band 3 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
SE00 | DSR | Industry_DSR band 1 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
SE00 | DSR | Industry_DSR band 2 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
SE00 | DSR | Residential_DSR band 1 | 3 | 3 | 3 | 3 | Avergae of Residential DSR from explicit DSR potential survey.
SE00 | DSR | Commercial_DSR band 1 | 3 | 3 | 3 | 3 | Avergae of Commercial DSR from explicit DSR potential survey.
SI00 | DSR | Industry_DSR band 1 | 6 | 6 | 6 | 6 | Average of Industry DSR from Explicit DSR survey
SI00 | DSR | Residential_DSR band 1 | 3 | 3 | 3 | 3 | Avergae of Residential DSR from explicit DSR potential survey.
HU00 | DSR | Industry_DSR band 1 | 6 | 6 | 6 | 6 | From explicit DSR potential survey.
HU00 | DSR | Commercial_DSR band 1 | 4 | 4 | 4 | 4 | From explicit DSR potential survey.
NL00 | DSR | Industry_DSR band 1 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 2 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 3 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 4 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 5 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 6 | 23 | 23 | 23 | 23 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 7 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 8 | 23 | 23 | 23 | 23 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 9 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
NL00 | DSR | Industry_DSR band 10 | 24 | 24 | 24 | 24 | From explicit DSR potential survey.activation limits also depending on particular minimum and maximum shut down time as well as cooling down time (hours)
BE00 | DSR | Industry_DSR band 2 | 2 | 2 | 2 | 2 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 4 | 4 | 4 | 4 | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 2 | 2 | 2 | 2 | Data from Belgian NRAA (26-36)
ES00 | DSR | Industry_DSR band 1 | 24 | 24 | 24 | 24 | From TSO expansion constraint
FR00 | DSR | Industry_DSR band 1 | 10 | 10 | 10 | 10 | from TSO expansion constraint
FR00 | DSR | Residential_DSR band 1 | 24 | 24 | 24 | 24 | from TSO expansion constraint
FR00 | DSR | Commercial_DSR band 1 | 1 | 1 | 1 | 1 | from TSO expansion constraint
PT00 | DSR | Industry_DSR band 6 | 6 | 6 | 6 | 6 | TSO estimate

## Hurdle Premium
Node | PEMMDB Technology | Reference Technology | 2028 | 2029 | 2030 | 2032 | 2035 | Source
BE00 | Gas CCGT new | Expansion | 5.55% | 5.55% | 5.55% | 5.55% | 5.55% | Data from Belgian NRAA (26-36)
BE00 | Gas OCGT new | Expansion | 6.55% | 6.55% | 6.55% | 6.55% | 6.55% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 1 | 3.55% | 3.55% | 3.55% | 3.55% | 3.55% | Data from Belgian NRAA (26-36)
CZ00 | Gas CCGT new | Expansion | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | Data from ELIA study 2023
CZ00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
CZ00 | DSR | Industry_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
DE00 | DSR | Industry_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
DE00 | DSR | Commercial_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
EE00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
EE00 | Gas CCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
FI00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
FI00 | DSR | Residential_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
FI00 | DSR | Commercial_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
GR00 | Gas CCGT new | Expansion | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | Data from ELIA study 2023
GR00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
GR00 | DSR | Residential_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
GR00 | DSR | Commercial_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
GR00 | DSR | Industry_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
GR00 | DSR | Industry_DSR band 2 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
GR00 | DSR | Industry_DSR band 3 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
IT00 | Gas CCGT new | Expansion | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | Data from ELIA study 2023
IT00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
SE00 | Gas CCGT new | Expansion | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | Data from ELIA study 2023
SE00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
SE00 | DSR | Industry_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
SE00 | DSR | Industry_DSR band 2 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
SE00 | DSR | Residential_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
SE00 | DSR | Commercial_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
SI00 | Gas CCGT new | Expansion | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | Data from ELIA study 2023
SI00 | Gas OCGT new | Expansion | 6% | 6% | 6% | 6% | 6% | Data from ELIA study 2023
SI00 | DSR | Industry_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
SI00 | DSR | Residential_DSR band 1 | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | Data from ELIA study 2023. Low rate in DSR range 3.5 - 4.2 %
PT00 | Gas CCGT new | Expansion | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | TSO data
PT00 | Gas OCGT new | Expansion | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | TSO data
PT00 | DSR | Industry_DSR band 6 | 1% | 1% | 1% | 1% | 1% | TSO data
BE00 | DSR | Industry_DSR band 2 | 3.55% | 3.55% | 3.55% | 3.55% | 3.55% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 3 | 3.55% | 3.55% | 3.55% | 3.55% | 3.55% | Data from Belgian NRAA (26-36)
BE00 | DSR | Industry_DSR band 4 | 3.55% | 3.55% | 3.55% | 3.55% | 3.55% | Data from Belgian NRAA (26-36)