Guidelines on Technology Readiness Level (TRL) used for DSO/TSO Technopedia

ENTSO-E & DSO Entity

April 2025

TRL description

Table 1 describes the TRL definitions used, in line with those established by the European Commission (EC). Additional details are provided for TRLs 7 to 9 to better address the specific requirements of the European Power Grid.

| TRL | EC definition | Relevance for European Power Grid |
| --- | --- | --- |
| 1 | Basic principles observed | Basic principles observed |
| 2 | Technology concept formulated | Technology concept formulated |
| 3 | Experimental proof of concept | Experimental proof of concept |
| 4 | Technology validated in lab | Technology validated in lab |
| 5 | Technology validated in a relevant environment (industrially relevant environment in the case of key enabling technologies) | Technology validated in a relevant environment (industrially relevant environment in the case of key enabling technologies) |
| 6 | Technology demonstrated in a relevant environment (industrially relevant environment in the case of key enabling technologies) | Technology demonstrated in a relevant environment (industrially relevant environment in the case of key enabling technologies) |
| 7 | System prototype demonstration in an operational environment | System prototype demonstration in the European grid environment |
| 8 | System complete and qualified | Successful full-scale demonstration in the European grid environment |
| 9 | Actual system proven in an operational environment (competitive manufacturing in the case of key enabling technologies, or in space) | Successful commercialisation of the technology within the European grid environment |

Table 1: TRL definitions

When evaluating a technology on the TRL scale, particularly for TRLs 7 to 9, the following criteria shall be taken into account:

### TRL 7 - System prototype demonstration in the European grid environment

- Operational Testing: technology testing in a European grid environment, such as a pilot project or a scaled-up demonstration in Europe. Assessment of the technology performance under realistic conditions.

- Regulatory Compliance: adherence to European regulations and standards, as well as compatibility with regional grid codes and market mechanisms.

### TRL 8 - Successful full-scale demonstration in the European grid environment

- Large-scale Deployment: successful deployment of the technology in a European grid environment.

- Performance Validation: validation of technology performance through implementation in a European grid environment, including data collection on its efficiency, safety, and effectiveness in addressing specific grid challenges.

### TRL 9 - Successful commercialisation of the technology within the European grid environment

- Commercial Availability: technology’s commercial availability and readiness for widespread adoption. This indicates that the technology has successfully transitioned from development to market readiness, having multiple vendors and a supply chain available to manufacture the product.

- Proven Track Record: Demonstrated track record of successful and sustained operation in a European grid environment, highlighting its impact on security of supply, sustainability, and accessible energy.

EC, “Horizon Europe Work Programme 2023-2025, 13. General Annexes”: wp-13-general-annexes_horizon-2023-2024_en.pdf