## Consultation
|  | ENTSO-E response |  | ENTSO-E response |  | ENTSO-E response |  | ENTSO-E response |  | ENTSO-E response |  | ENTSO-E response |  | ENTSO-E response
Organisation of the respondent | Anonymous |  | TIWAG-Tiroler Wasserkraft AG |  | currENT Europe |  | SuperNode Ltd |  | Smart Wires |  | EDF SA |  | Anonymous
The TNYDP 2022 specific Implementation Guidelines aims at complementing the guidance as given within the 3rd CBA Guideline by delivering the methodologies for assessing the projects in the TNYDP 2022. It, therefore, gives additional information on models, tools, data, and examples as well as additional case-specific explanation and clarification. It is the aim to deliver all the information needed in order to perform the project assessment. Is this approach sufficient and, if not, what do you think was missing in the previous edition of the Implementation Guidelines or needed additional explanation/clarification? | It would be great to: 1) Have the draft document. For now I only have the following version: https://eepublicdownloads.entsoe.eu/clean-documents/tyndp-documents/Cost%20Benefit%20Analysis/200128_3rd_CBA_Guideline_Draft.pdf 2) First have a general introduction in the CBA methodology: this would be very useful for people to new to the topic in the form of a webinar 3) Subsequently sum up the differences / improvements compared the previous version in the form of a webinar | 1) ENTSO-E will consider publishing the whole document of the implementation guidelines for the next TYNDP. 2) a short introduction and a link to the 3rd CBA Guideline is already given in the beginning of the implementation guidelines 3) a short overview of the main changes compared to the previous implementation guidelines for the TYNDP 2020 has been introduced in the document. For the next TYNDP ENTSO-E will further work on improving the transparency of the process. |  |  | This incremental approach is safe and regulatorily sound but insufficient if the goal is to enable EU-wide decarbonization of the energy system. There is a need to establish what is necessary for economy-wide carbon neutrality in 2050 and work back from there, planning and designing a transition to a fit for purpose grid infrastructure. Therefore the CBA needs to be based on scenarios that ensure the net zero scenarios are reached. We haven’t seen the 2022 implementation guidelines, however the 2020 implementation guidelines failed to address the following issues: flexibility, complementarity of solutions, redeployability, scalability, fast deployment, modularity. | This question was more related to the process and the link between the CBA Guideline and its application in the TYNDP. However, we appreciate this feedback on the missing parts that are more related to the overall TNYDP and scenario building especially on the listed issues - where ENTSO-E is always working on improving | This incremental approach is safe and regulatorily sound but insufficient if the goal is to enable EU-wide decarbonization of Europe's energy system. There is a strong need to establish what is necessary for economy-wide carbon neutrality in 2050 and work back from there, planning and designing a transition to a fit for purpose grid infrastructure. Therefore the CBA needs to be based on scenarios that ensure the net zero scenarios are reached. The 2020 implementation guidelines failed to address the following issues which should be included in the new guidelines: flexibility, complementarity of solutions, redeployability, scalability, fast deployment and, modularity. | This question was more related to the process and the link between the CBA Guideline and is application in the TYNDP. However, we appreciate this feedback on the missing parts that are more related to the overall TNYDP and scenario building especially on the listed issues - where ENTSO-E is always working on improving | The CBA needs to be based on scenarios that ensure the net zero scenarios are reached. We haven’t seen the2022 implementation guidelines, however the 2020 implementation guidelines failed to address following issues: flexibility, redeployability, scalability, fast deployment, modularity, complementarity of solutions in a toolbox. | This question was more related to the process and the link between the CBA Guideline and its application in the TYNDP. However, we appreciate this feedback on the missing parts that are more related to the overall TNYDP and scenario building especially on the listed issues - where ENTSO-E is always working on improving | EDF welcomes these implementation guidelines as a valuable and helpful tool to help project promoters implement the CBA methodology developed by ENTSO-E to assess their infrastructure projects or help understand how ENTSO-E proceeds. However, in principle, it is not the role of implementation guidelines to enrich further or propose additional indicators to the methodology itself. The implementation guidelines can indeed help identify necessary improvements but should stick to their primary role. EDF considers a separate process for the evolution of the methodology should be favored. | The structure of the 3rd CBA guideline follows a general and modular approach. It explicitly refers to and relies on the study specific implementation guideline: a. It is modular as each individual indicator or aspect within the 3rd CBA guideline is presented as individual module. This approach would allow ENTSO-E to include small changes or revise/add/revoke single indicators in a clearer manner without changing the entire document. b. It is more general as very specific details or assumptions needed for applying the CBA guidelines are pushed to the Implementation Guidelines while the CBA relies on the main concepts. | Yes. Given that there is no space for general comments: - ENTSO-E should run public consultations on the data of 3rd countries. So far, this data has not been consulted, which means that ENTSO-E does not comply with the Article 11 (Annex V) of the regulation (EU) 347/2013. Data consulted should include installed capacities, interconnection capacities, hydro inflows, fuel prices, demand, RES profiles and technologies. - Market and network data should be published with hourly resolution, with the base case and the cases with or without the project being assessed, for all scenarios. | ENTSO-E appreciates this positive feedback The consultation and publication of detailed modelling data is out of the scope of the implementation guidelines. Only the most fundamental information needed to perform the indicator based CBA assessment is content to the implementation guidelines.
Indicator B6 - SoS - Adequacy: In order to assess the Security of Supply (which is associated with very scarce phenomenon) with sufficient accuracy, ENTSO-E currently use all the PECD climate years of the database combined with 15 randomized yearly availabilities of thermal power plant resulting in 510 Monte Carlo Years. Do you consider this approach sufficient to represent the variety of offer and supply balance situations? | I do not have the expertise necessary to challenge this methodology it seems like a great approach | ENTSO-E appreciates this positive feedback |  |  | This is appropriate. | ENTSO-E appreciates this positive feedback | Yes | ENTSO-E appreciates this positive feedback |  |  | When assessing adequacy, it seems important to have a sufficient number of climate years in order to represent well the climate events and to assess the thermal capacities needed. As it stands, ENTSO-E fails to justify the reason for choosing 15 randomized yearly availabilities of thermal power plant, making difficult for market participants to express an informed view on the accuracy of this approach. EDF calls on TSOs to provide evidence on the fact that such a number of randomized yearly availabilities of thermal power plant consists in the better trade-off between precision and computational complexity. Considering fewer Monte-Carlo years can lead to an underestimation of the high variability of the climatic conditions (renewable production, thermal sensitivity) and their impact. EDF also wonders whether, and to what extent, climate change is modelized in the PECD climate years. | Additional information on the creation of the Monte-Carlo years has been introduced to the Implementation Guidelines. For future TYNDPs we will consider to what extend the PECD can be updated in order to cope with effects of climate change. | It is not clear if the power plants granularity should be by unit by unit or aggregated (average size). The number of outages needed to have a consistent CBA depends on this detail. The number of Monte Carlo years could be fine, but so far seems arbitrary. | Additional information on the creation of the Monte-Carlo years has been introduced to the Implementation Guidelines.
Indicator B6 - SoS - Adequacy: In order to monetize the Energy not Supply avoided thanks to a new project, ENTSO-E is going to use, for each country, the Value of Lost Load developed by each country in compliance with the Clean Energy Package (article 11.1). For those countries where the VoLL has not been computed yet, ENTSO-E intends to use 10 k€/MWh, a value in the order of magnitude of what is currently taken into account and that has been used by ENTSO-E in previous TYNDP. Do you agree with this choice? | This choice is great, no remarks. | ENTSO-E appreciates this positive feedback |  |  | This is appropriate and needs to be reasonably high to provide adequate investment signals. | ENTSO-E appreciates this positive feedback | Yes. A high price is needed to provide a strong investment signal. | ENTSO-E appreciates this positive feedback | Yes, this is adequate as it provides sufficient incentive to invest. | ENTSO-E appreciates this positive feedback | EDF understands that for practical reasons ENTSO-E proposes some values for the VoLL for those countries where it has not been computed yet but calls for caution in the use of an absolute value. | In future Member States shall compute this values, according Regulation (EU) 2019/943 article 25 nº 1) when applying capacity mechanisms Member States shall have a reliability standard in place. A reliability standard shall indicate the necessary level of security of supply of the Member State in a transparent manner and in nº 3) The reliability standard shall be calculated using at least the value of lost load and the cost of new entry over a given timeframe and shall be expressed as ‘expected energy not served’ and ‘loss of load expectation’. | Yes | ENTSO-E appreciates this positive feedback
Indicator B6 - SoS - Adequacy: In order to monetize avoided investment for peaking power plant avoided thanks to a new project, ENTSO-E intends to use, for each country, the Cost of New Entry assessed by each country through the ENTSO-E methodology (link here). For those countries where the CONE has not been computed yet, ENTSO-E intends to use 42k€/MW/yr, a value in the order of magnitude of what is currently taken into account and that has been used by ENTSO-E in previous TYNDP and for the Scenario Building phase. Do you agree with this choice ? | The link does not seem to work - I would be very interested in the methodology and assumptions used to computed this number. I would guess that this parameter would be about 20 percent higher based on the projects my company is looking at. | Acknowledged |  |  | This is appropriate and needs to be reasonably high to provide adequate investment signals. We also believe that it needs to be recognized that interconnectors can also contribute to the provision of adequacy and should be included in the analysis. | ENTSO-E appreciates this positive feedback The contribution of interconnectors to adequacy provision should also already be considered in the CBA phase, in B6 indicator. | Yes. I high price is needed to provide a strong investment signal. In addition, it should be recognised that interconnectors can also contribute to adequacy and should be included in the analysis. | ENTSO-E appreciates this positive feedback The contribution of interconnectors to adequacy provision should also already be considered in the CBA phase, in B6 indicator. | Yes, agreed but it needs to be recognized that interconnectors can also contribute to the provision of adequacy and should be included in the analysis. | ENTSO-E appreciates this positive feedback The contribution of interconnectors to adequacy provision should also already be considered in the CBA phase, in B6 indicator. | EDF understands that for practical reasons ENTSO-E proposes some values for the CONE for those countries where it has not been computed yet but calls for caution in the use of an absolute value. | In future Member States shall compute this values, according Regulation (EU) 2019/943 article 25 nº 1) when applying capacity mechanisms Member States shall have a reliability standard in place. A reliability standard shall indicate the necessary level of security of supply of the Member State in a transparent manner and in nº 3) The reliability standard shall be calculated using at least the value of lost load and the cost of new entry over a given timeframe and shall be expressed as ‘expected energy not served’ and ‘loss of load expectation’. | The value used should correspond to the minimum value between a OCGT and an oil power plant | In cases where no country specific data is available the current assumption is that the price giving power plants are OCGT
Project Level Indicators: in relation to the "non-mature" indicators (B7, B8) and the redispatch calculations and based on the content of the previous editions of the Implementation Guidelines (where those were addressed as "Project Level Indicators"), where do you think that additional clarity should be delivered in terms of their calculation? | I would be very interested in the reasons why these indicators cannot be monetized, at least partially. This is really not clear to me, it seems to me that there are published studies that took these elements into account in various ways. I would need additional explanation on this point. A document and a webinar on this topic would be great. | ENTSO-E already organised meeting in the past and for the development of the 3rd CBA Guideline the public was also invited to directly work together with ENTSO-E on these indicators. It turned out that currently there seems to be no methodology applicable within the TYNDP process. Of course there are detailed studies published, but for the CBA and within the framework of the TYNDP we need to consider resources and a tight deadline. Complex and detailed studies in SoS cannot be incorporated in this process. On the other side simplified indicators seem not to be applicable either as they are lacking in important details. However, ENTSO-E is always working on improving this shortcoming of the CBA Guideline, and welcomes any constructive suggestions. |  |  | B7 -Flexibility characterizes the impact of the project on the ability to exchange balancing energy in the context of high penetration levels of non-dispatchable electricity generation. Balancing energy refers to products such as Replacement Reserve (RR), manual Frequency Regulation Reserve (mRR), and automatic Frequency Regulation Reserve (aFRR). Exchanging/sharing balancing capacity (i.e., RR, mFRR and aFRR) that requires guaranteed or reserved cross-zonal capacity is also taken into account. B 8 -Stability characterises the project’s impact on the ability of a power system to provide a secure supply of electricity. B8.0 Qualitative stability indicator; B8.1 Frequency stability; B8.2 Blackstart services; and B8.3 Voltage/reactive power services. | ETNSO-E appreciates this feedback and will consider this is the next updates. |  |  | The additional clarity in terms of their calculation could be provided as a guidance note from ENTSO-E with ACER/EC support. However, the ability of the TYNDP to calculate this is limited until a dynamic model of the synchronous systems are available. Therefore, the calculation at least for cross border or for transmission to distribution interfaces should be calculated on the basis of the increased capacity, the latency in this capacity for energy trade, i.e., the spare capacity not being used at a point in time to trade energy and which can be reused to provide reserves. Note the reserves being shared between jurisdictions would of course need to exist at that time in country B to support country A. For the B8 indicator, ability to improve the stability margin on a circuit network should be recognized as technology with this ability can support stability, frequency B8.1 (increasing transient stability margin) and voltage 8.3 (directly providing reactive voltage injection), and8.2 (by reducing the need for black start units and/or making existing units reach further across the network. | ETNSO-E appreciates this feedback and will consider this is the next updates. |  |  | Due to its complexity, it should not be a project level indicator, but an indicator computed in a transparent way by ENTSO-E | ENTSO-E in principle agrees on that statement, but within the frame of the TYNDP this is currently not possible
Scenarios: Three climate years 1995, 2008, and 2009 have been selected using a methodology based on its representativeness out of the climate years within the Pan European Climate Data Database. The results from market simulations are then considered based on the weighted average from these three climate years. The weighting is as follows: 0.233 for 1995, 0.367 for 2008 and 0.4 for 2009. Do you see this approach and the amount and choice of the climate years as sufficient? If not: what climate years should be used and why? | I do not have sufficient expertise to challenge this choice, it seems OK to me. | ENTSO-E appreciates this positive feedback | - The selection of 3 weather years seems to be too few as a proxy for the representation of the weather situation of 35 years (at least 10 weather years) - Comprehensive and transparent description of the selection process needed - If only a few weather years are used, tend to use "more recent" years (the weather of the last decade is not appropriately taken into account; moreover, the climate has changed significantly since 1995 (temperature, precipitation, extreme events); in 2012, for example, there was a pronounced cold spell) | ETNSO-E believes that three years is a good compromise between robust results and computation time. The choice of the three climate years is based on BZR methodology: the most recent climate years are not better than the oldest but ENTSO-E will further investigate on improving this process for the following TNYDPs. | Using a larger number of years seems likely to deliver more robust results,, and the most recent available climate years should be considered. | ETNSO-E believes that three years is a good compromise between robust results and computation time. The choice of the three climate years is based on BZR methodology: the most recent climate years are not better than the oldest but ENTSO-E will further investigate on improving this process for the following TNYDPs. | A larger number of years is likely to deliver more robust results and the most recent available climate years should be considered. | ETNSO-E believes that three years is a good compromise between robust results and computation time. The choice of the three climate years is based on BZR methodology: the most recent climate years are not better than the oldest but ENTSO-E will further investigate on improving this process for the following TNYDPs. | The climate years do not show enough variation in the temperature, solar and wind variance across the grid. This method does not account for increasing more likely extreme weather events in future years nor does it give the full range of weather variations to be endured. A long drought for example would drive a major cost in one year for certain regions that would need to be paid and should be included in a CBA for a project. This regional situation is at risk and most likely will be lost by trying to find a representative year for Europe. In addition to the method proposed, each individual full year should be analysed regionally looking for these hidden trends and then the outcome of the analysis used to make adjustments with weighted factors to make adjustments for these, but still enable the TYNDP to be run at a Pan –European scale. | ETNSO-E believes that three years is a good compromise between robust results and computation time. The choice of the three climate years is based on BZR methodology: the most recent climate years are not better than the oldest but ENTSO-E will further investigate on improving this process for the following TNYDPs. | Although selecting climate years according to their representativeness out of the climate years within the Pan European Climate Data Database seems to be the optimal way for the optimization, EDF deeply regrets the lack of transparency (i) on the methodology used for both the selection and the weighting and (ii) on the number of selected years. Besides, EDF wonders whether ENTSO-E is already planning to consider an increased number of climate years in the next CBA. | The choice of the three climate years is based on BZR methodology. Within the TYNDP2022 ENTSO-E will not change the number of climate years. But for the TYNDP 2024 ENTSO-E will assess the realisation of increasing the number. | ENTSO-E has not published the assumptions behind PECD, so it is not possible to say if these are the right years. | Information about the PECD can be found in section 6.3 in the ERAA report, found under the link in column P. Further information and assumptions on how the climate years are chosen for the TYNDP can be found in section 4.1 and appendix VII in the Scenario Building Guidelines, found in the second link in column P. | https://eepublicdownloads.azureedge.net/clean-documents/sdc-documents/ERAA/ERAA_2021_Annex_3_Methodology.pdf https://2022.entsos-tyndp-scenarios.eu/wp-content/uploads/2021/09/2021-10-TYNDP_2022_Scenario_Building_Guidelines.pdf
Scenarios: In the TNYDP 2022 it is planned to perform the CBA assessment for each of the three climate years for the time horizons 2030 and 2040 and each applied to different scenarios. Do you consider that these time horizons are relevant for the TYNDP 2022 CBA assessment and bring enough overview of the benefits of the projects? If not which ones should be considered? | Yes they are relevant and sufficient. | ENTSO-E appreciates this positive feedback | Regarding the selection of reference years see our answer at question No. 9. | see answer there | 2050 should be considered. Meeting the 2050 goals will require significant additional effort. Given that transmission investments are typically long-term in nature, it makes sense to evaluate projects in terms of their contributions to longer-term goals as well as with reference to the 2030 and 2040 time horizons. | ENTSO-E appreciates this constructive feedback and will take this proposal under consideration for the next TNYDPs. However, in terms of economic evaluation (calculation of the net present value) 30 years distance will have a little impact on results. | 2050 should be considered. Meeting the 2050 goals will require significant additional effort. Given that transmission investments are typically long-term in nature, it makes sense to evaluate projects in terms of their contributions to longer-term goals as well as with reference to the 2030 and 2040 time horizons. | ENTSO-E appreciates this constructive feedback and will take this proposal under consideration for the next TNYDPs. However, in terms of economic evaluation (calculation of the net present value) 30 years distance will have a little impact on results. | They are relevant but also near-term time horizons should be considered such as 2023 and 2025. | This is not the aim of the TYNDP, which is more related to mid-term and long-term effects than in the very short-term aspects. Please consider also investigation in the adequacy studies (e.g. ERAA) | Keeping consistent time horizons between the TYNDP and the CBA assessment makes sense. While acknowledging that distant time horizon comes with high level of uncertainties, EDF wonders whether the CBA assessment could also be performed for 2050 – since the power sector may meet major challenge at this time frame, especially when it comes to the decarbonation goals. | ENTSO-E appreciates this constructive feedback and will take this proposal under consideration for the next TNYDPs. However, in terms of economic evaluation (calculation of the net present value) 30 years distance will have a little impact on results. | 2050 is also relevant due to the Paris agreement | ENTSO-E appreciates this constructive feedback and will take this proposal under consideration for the next TNYDPs. However, in terms of economic evaluation (calculation of the net present value) 30 years distance will have a little impact on results.
Reference Grid: Based on the guidance given within the 3rd CBA Guidelines, for the TYNDP 2022 two different reference grids are defined for the corresponding two horizons 2030 and 2040. The reference grids for the 2030 and 2040 horizons are based on the maturity criteria as defined within the 3rd CBA Guideline. Additionally, to the above given maturity criteria, a cut-off for the commissioning years has been set. This choice deals with the uncertainties in the planning and construction, ensuring that only projects having a strong chance of being commissioned at the dates of the respective scenarios are part of the reference grid. The cut-off has been set to 31/12/2027 for the mid-term horizon (2030) and 31/12/2035 for the long-term horizon (2040) excluding all projects with planned commissioning dates later than these cut-offs. Do you agree with defining distinct cut-off years in order to take due account of possible uncertainties? | Yes, I have no reasons to challenge this choice. | ENTSO-E appreciates this positive feedback |  |  | 2050, 2040 and 2030 target reference grids should be included in the assessment of benefits for new projects to close the GAP between what already exists and what we need. This will allow hybrid projects to be more fully assessed. Risk of stranded assets is less than the risk of failing to decarbonise. If the reference grid is based on today’s grids plus those additional projects that we feel will make it through current planning processes, the result will be a small, inefficient grid that will not meet the 2050 decarbonization pathway. The reference grid for 2040 must reflect what is needed to reach European economy-wide decarbonisation in 2050. For the electricity sector, that would require full decarbonization well before 2040. In addition, the infrastructure must be able to support the decarbonisation through electrification of the heating, transport and industrial sectors. Grid enhancing technologies, that are mature and available today, and other technologies that are expected to mature in near years, can significantly improve the efficiency of grids, affecting both the willingness to invest in new grids and the questions of when and where to invest in what kind of grid components. The future reference grid must assume the use of existing and expected technologies when it is socioeconomic beneficial to use them. | ENTSO-E appreciates this constructive feedback although it exceeds the frame of this question. To be noted: the choice of the reference grid for modelling purpose - as used in the TYNDP - does not impact in any case the realisation of future projects. | 2050, 2040 and 2030 target reference grids should be included in the assessment of benefits for new projects to close the GAP between what already exists and what we need. This will allow hybrid projects to be more fully assessed. The risk of stranded assets is less than the risk of failing to decarbonise. If the reference grid is based on today’s grids plus those additional projects that we feel will make it through current planning processes, the result will be a small, inefficient grid that will not meet the 2050 decarbonization pathway. The reference grid for 2040 must reflect what is needed to reach European economy-wide decarbonisation in 2050. For the electricity sector, that would require full decarbonization well before 2040. In addition, the infrastructure must be able to support the decarbonisation through electrification of the heating, transport and industrial sectors. Grid enhancing technologies, that are mature and available today, and other technologies that are expected to mature in the coming years, such as transmission technology based on superconductors, can significantly improve the efficiency of grids, affecting both the willingness to invest in new grids and the questions of when and where to invest in what kind of grid components. The future reference grid must assume the use of existing and emerging technologies within the 2050 timeframe, when socioeconomic beneficial to apply them. | ENTSO-E appreciates this constructive feedback although it exceeds the frame of this question. To be noted: the choice of the reference grid for modelling purpose - as used in the TYNDP - does not impact in any case the realisation of future projects. | We believe that an approach focusing only on PCI’s that are in construction or in permitting or planned is too narrow. Such an approach does not consider any optimization projects whose lead time can be from 1 –5 years. Taking optimization into account helps as it gives lead times to new projects to be delivered. We suggest having an average/typical development to commissioning time for each category/type of technology. This should be consulted with stakeholders. These would allow TYNDP process to assess whether to use the existing 3rd CBA Guideline recommendation, which is based on whether there is sufficient certainty in the timelines to consider a new project could be built and therefore make it into the reference case or not. For long lead time technologies like circuits this seems reasonable, but for shorter lead-time technologies like optimization technologies that may only take a couple of years to move from analysis to construction it does not. A stakeholder consulted lead time for optimization projects and capital projects based on European lead time example projects would provide sufficient evidence to make this distinction. | The reference grid is not only constructed by PCI projects but also by a project submitted to the TYNDP fulfilling the reference grid criteria. ENTSO-E appreciates this constructive feedback although it exceeds the frame of this question. To be noted: the choice of the reference grid for modelling purpose - as used in the TYNDP - does not impact in any case the realisation of future projects. | EDF considers that it makes sense to have in the reference grids at longer time horizons only those projects having a strong chance of being commissioned and welcomes the idea of improving the CBA by also taking into account this commissioning horizon dimension, especially considering the delays that can be observed and that ACER notably points out in its PCI annual report. Yet, EDF regrets the lack of transparency in the way those dates have been calculated, and wonders whether the used methodology may be shared with market participants so they could replicate the calculations. | No calculations have been performed to define these cut-off dates. They were chosen in order to taking into account the possible delays of projects. | Yes, but the question is how a project justifies that it will be commissioned before a given cut-off date. So far CBA guidelines leave the door open for TSOs to take arbitrary decisions. Entities like regulators, without conflict of interest should be in charge of assessing the commissioning dates of projects. | The CBA Guideline, on which the Implementation Guidelines is based on, explicitly mentions that the commissioning years need to be in line with the information given in the respective national development plans, or they need to be agreed with the respective regulator.
Modelling: Within the TYNDP CBA Implementation Guidelines, two options for the load-flow calculations are allowed. These are AC and DC-based load-flow calculations. Internal tests have shown that the line loadings and resulting losses - as needed to determine the B5 indicator - are in good alignment between both approaches. Therefore this comparison on AC and DC does not show any reasons to reject one modeling on the other. ENTSO-E believes that both the AC and the DC calculations are well suited for the CBA assessment. Do you agree? | I do not have sufficient expertise to challenge this choice, it seems OK to me. | ENTSO-E appreciates this positive feedback |  |  | Yes. | ENTSO-E appreciates this positive feedback | Yes | ENTSO-E appreciates this positive feedback | AC modelling allows for more detailed assessment of network performance. It is important to assess long term losses, which can help arbitrate between alternative technology solutions. The Eco-design directive and Energy Efficiency Directive focus precisely on the need to reduce losses in networks over time as to reach the decarbonisation target. | ENTSO-E appreciates this feedback | EDF welcomes ENTSO-E approach to find the best way to approximate network losses by analyzing various load-flow calculations. In our understanding, DC based load-flow calculations require more assumptions than AC one to get an estimate of the network losses. Consequently, EDF would recommend opting for AC modelling. | ENTSO-E appreciates this feedback | Yes | ENTSO-E appreciates this positive feedback
Modelling: The redispatch calculations, as in the TNYDP 2020, will again be treated as project level indicators (indicators delivered by the project promoters). Do you see this as a reasonable approach also for future editions of the TNYDP or do you think ENTSO-E should invest additional resources, if needed even on the cost of other processes, in order to make ENTSO-E centralized redispatch calculations available? | I do not think that having project level indicators is a good choice. Based on my understanding of the methodology, I think that the methodology is great for evaluating investments in transmission lines, but not well suited to evaluate investments in storage or other technologies that are capable of providing ancillary services. I am firmly convinced that SEW calculations should be performed in a way where BOTH energy AND ancillary services (FRC, aFRR, mFRR) demand are satisfied. I would appreciate a detailed methodological explanation why this is not the case already (I am convinced that this is technically feasible). | ENTSO-E acknowledges that PLI are not seen as perfect solution and will further investigate on possible solutions to making them general indicators as well. The second part seems to be out of the scope of this question. |  |  | We believe that ENTSO-E needs to come up with a centralized analysis and calculation of redispatch. As a prime component of the socio-economic welfare benefit indicator, required redispatch is a very important indicator for the performance of power systems, and should therefore be established centrally and independently. | ENTSO-E acknowledges that redispatch calculations are seen important and will further investigate on possible solutions for calculating redispatch on a centralized level. | ENTSO-E should , in consultation with relevant stakeholders, develop a centralized analysis and calculation of redispatch. As a prime component of the socio-economic welfare benefit indicator, required redispatch is a very important indicator for the performance of power systems, and should therefore be established centrally and independently. | ENTSO-E acknowledges that redispatch calculations are seen important and will further investigate on possible solutions for calculating redispatch on a centralized level. | We believe that ENTSO-E needs to come up with a centralized calculation of Redispatch: the needed RD is a very important indicator for the performance of power systems and should therefore be established centrally. Re-dispatch should first, systematically, and as a matter of principle be addressed through optimization of existing grids, and only then more lines-applying what is called in Germany for instance the NOVA principle (Optimization ahead of reinforcement ahead of more lines), and that project promoters are at risk of double accounting the savings between projects. This is because the promoter models will not take into account other PCI applications that are expected to be commissioned earlier and that have the potential to reduce or eliminate the re-dispatch costs now. | ENTSO-E acknowledges that redispatch calculations are seen important and will further investigate on possible solutions for calculating redispatch on a centralized level. We further appreciate this constructive feedback and will assess the proposal for the next TYNDP. | Project promoters are best placed to assess their dispatch costs but using their hypotheses may generate – in our view – two major risks. First, projects promoters may use various calculation methodologies, leading to potentially biased comparisons between projects. Second, their calculations may be on too optimistic hypotheses, especially when it comes to the commissioning date of the projects. EDF wonders whether ENTSO-E is willing to put in place some safeguard to mitigate these risks. | Already during the TYNDP 2020 process when project promoters submitted redispatch calculations they needed to proof their compliance with a dedicated simplified test-case. Further within the Implementation Guidelines detailed instructions on data and parameter was introduced. For this TYNDP ENTSO-E is following the same approach, which should mitigate the risk of inconsistencies. | No. ENTSO-E should calculate them | ENTSO-E will further investigate on possible solutions for calculating redispatch on a centralized level.
Hybrid project: concerning the assessment of projects aimed at both interconnection between countries/BZs and integration of generation (projects often called Hybrid Projects, mainly used for Offshore Hybrid Projects), - do you agree on restricting the modelling on the application of Offshore Bidding Zones only, or do you think that Home Markets should also be allowed? | It would be great to include also Home markets. | Acknowledged |  |  | The HM concept is today commonly used for radial connections of Offshore Wind Farms (OWFs) and offshore wind hubs to shore. The market design solution for offshore interconnectors is also well established and does not distinguish market-wise if they are built on land or subsea. The discussion of whether to apply the HM or OBZ concept applies to hybrid projects and multi-terminal configurations, where OWFs are connected to infrastructure that connects two or more bidding zones. Both concepts have pros and cons and require further analysis in several respects. Based on current insights, the OBZ concept appears to be the prominent solution when considering the efficiency of markets and system operations, mainly as the OBZ concept provides a market solution that better reflects physical congestions and physical flows. The OBZ concept does, however, provide less market revenue to OWFs compared to the HM concept. Thus, the OBZ concept may affect price-setting in the offshore renewable energy tenders to realise investments in socioeconomic efficient hybrid projects. currENT strongly supports an approach on modelling the Offshore Bidding Zones as a priority. | ENTSO-E appreciates this comment and background information. | An approach on modelling the Offshore Bidding Zones is a priority. The HM concept is today commonly used for radial connections of Offshore Wind Farms (OWFs) and offshore wind hubs to shore. The market design solution for offshore interconnectors is also well established and does not distinguish market-wise if they are built on land or subsea. The discussion of whether to apply the HM or OBZ concept applies to hybrid projects and multi-terminal configurations, where OWFs are connected to infrastructure that connects two or more bidding zones. Both concepts have pros and cons and require further analysis in several respects. Based on current insights, the OBZ concept appears to be the prominent solution when considering the efficiency of markets and system operations, mainly as the OBZ concept provides a market solution that better reflects physical congestions and physical flows. The OBZ concept does, however, provide less market revenue to OWFs compared to the HM concept. Thus, the OBZ concept may affect price-setting in the offshore renewable energy tenders to realise investments in socioeconomic efficient hybrid projects | ENTSO-E appreciates this comment and background information. | The Offshore bidding zone price should not be determined by the best HM market price and the transfer flows from one HM to another or from the generation itself –i.e. a higher market price? Also how are ancillary services being accounted for, OBZ can provide benefit in all HMs at same time? | This seems to be a misunderstanding: the question was whether to allow - just for modelling purpose - to model the hybrid projects within an own newly defined OBZ or to model them within one of the participating countries' HM. | Hybrid projects are one of the issues addressed with view to improving the CBA methodology and should therefore not be dealt with in an implementation guideline. Beyond this question, EDF considers that no decision has yet been made on the status of hybrid projects at EU level. Therefore, modelling should remain open to both approaches (OBZ or Home Markets). | The idea is to include such new methodologies within the Implementation Guidelines as test cases. After positive application in the TYNDP such new methodologies could be transferred into the CBA guideline. | Home markets should also be allowed. | Acknowledged
Hybrid projects: should projects aimed at both interconnection between countries/BZs and integration of generation (projects often called Hybrid Projects, mainly used for Offshore Hybrid Projects), in their assessment, be treated as "enablers" for the achievement of specific goals, such as a distinct amount of RES installed within the EU? | This should be the case only if there is some indication from a reputable study that Hybrid projects contribute significantly an optimal European energy mix. I am not aware of such a study, I would appreciate a reference. | Acknowledged and the comment will be considered when further updating the methodology. |  |  | Yes, and assessed in the context of a plan for the pan-European grid infrastructure needed to move remotely based solar and wind to the centres of demand. This needs to be in line with the Renewables Directive update (article 7) on cooperation mechanisms. | Acknowledged and the comment will be considered when further updating the methodology. We thank you for the additional information | Yes, and assessed in the context of a plan for the pan-European grid infrastructure needed to move remotely based solar and wind to the centres of demand. | Acknowledged and the comment will be considered when further updating the methodology. We thank you for the additional information | Projects should be looking to deliver the maximum benefits to the end consumer and not focus on solving a single issue. Agreed they should be treated as enablers, if the risk of double accounting is recognized and avoided. For example you cannot use a project to hit the 70% target exporting energy at any time, whilst being fully utilized for import of renewables in the TYNDP network modelling. We also believe that the following question requires further thought: Does the 15% interconnection target for any country with its neighbours, include the offshore network? If so, how is this offshore network apportioned. We believe that this could only be effective at undisputable point e.g. the shoreline with each jurisdiction and not an arbitrary point offshore, and its capacity must also be limited to the weakest link in the interconnection pathway like onshore NTC calculations. | Acknowledged and the comment will be considered when further updating the methodology. We thank you for the additional information | Here again, hybrid projects are one of the issues addressed with view to improving the CBA methodology and should therefore not be dealt with in an implementation guideline. Besides, the proposal here looks like introducing an additional indicator that is not technologically neutral to favor the RES objective. There is already indicator B2 in the methodology to assess the contribution of the projects to the EU climate or decarbonisation objectives. | The idea is to include such new methodologies within the Implementation Guidelines as test cases. After positive application in the TYNDP such new methodologies could be transferred into the CBA guideline. The B2 indicator only assesses the impact of the project on CO2 emissions. The question here was if such hybrid projects should be treated as "enablers" for additional RES installation - on top of the scenario numbers | Both numbers should be computed. With generation and without the additional generation. Then decision-makers will see what to do and how to compare projects. | Acknowledged and the comment will be considered when further updating the methodology.
Hybrid projects: considering the point raised in the previous question (and in case the given answer), should it be allowed to assess those projects by adding RES capacity on top of the scenario numbers (PINT)- or by reducing the scenarios' numbers because of the project (TOOT)? | Same answer as for the previous question. I would like to see a METIS type study that proves that this type of project is part of the optimal energy mix. This is a general remark - it would be good to consider only projects that fall within the optimal energy mix that has been identified in a public METIS type study. | Acknowledged and the comment will be considered when further updating the methodology. |  |  | Adopted TOOT (Take one out at the time) approach implies a stronger network, thus it tends to downsize the impact of a project to the system PINT (Put in one at the time) approach, implies a weaker network and thus it tends to oversize the impacts | The question was if the scenario numbers should be adjusted based on the project's RES capacities (additional RES for PINT or reducing RES for TOOT)? |  |  | PINT should be considered for radial or an early delivered project e.g., pre 2025 (it is an all or nothing installation), and TOOT for longer term projects as they are often built as projects to make use of existing planned developments and would fail to give a strong CBA without these as a result. | The question was if the scenario numbers should be adjusted based on the project's RES capacities (additional RES for PINT or reducing RES for TOOT)? | This methodological issue is not in the scope of implementation guidelines. EDF supports the use of both the TOOT approach (removing one project at a time) and the incremental approach (PINT - adding one project at a time) in order to provide confidence in the robustness of the indicators for all projects. | The question was if the scenario numbers should be adjusted based on the project's RES capacities (additional RES for PINT or reducing RES for TOOT)? | None of them. The capacity should be reallocated accordingly. Scenarios are an equilibria between supply and demand. Hybrid projects should just affect the location of the supply,. | Acknowledged and the comment will be considered when further updating the methodology.
Interlinkage of gas and electricity on top of the scenario building: within the TNYDP 2022 ENTSO-E plans to introduce an indicator monetizing the amount of hydrogen produced by P2G units. The variation of with and without the project to be assessed can then be considered as an addition to the general SEW. The overall SEW benefit can then be calculated by SEW = SEW_el + SEW_H2 Do you consider this addition as the valid first step in further linking both sectors together? | Yes this is a good idea. | ENTSO-E appreciates this positive feedback |  |  | We believe technology neutrality is relevant here: P2G bears consideration as a method for sector coupling, but ENTSO-E should not advocate for higher P2G as part of the modelling through an indicator monetizing the amount of hydrogen, unless EU has a defined hydrogen target that is a defined input to the TYNDP. | This can be seen as a first step to meet the requirements of the upcoming revised TEN-E regulation. With this indicator ENTSO-E is monetising the additional benefit from the delta in H2 output from P2G with and without the project. It is not assessing P2G projects nor will it change the installed P2G capacity on the scenarios. |  |  | We believe technology neutrality is relevant here: P2G is one option, ENTSO-E should not advocate for higher P2G as part of the modelling, through an indicator monetizing the amount of hydrogen, unless EU has a Hydrogen target that the TYNDP has to properly reflect. The important thing here is how the P2G is calculated. IF P2G is proposed it should be calculated like any other PCI with it either as: 1. A standalone project with the benefits of gas production and re-dispatch costs associated with it, including its CAPEX, losses, O&M and carbon costs of its final use. 2.As part of the network reinforcement with the CAPEX, OPEX and reduced capacity costs (both in market and payments) | This can be seen as a first step to meet the requirements of the upcoming revised TEN-E regulation. With this indicator ENTSO-E is monetising the additional benefit from the delta in H2 output from P2G with and without the project. It is not assessing P2G projects nor will it change the installed P2G capacity on the scenarios. | This issue is beyond the scope of the implementation guidelines and should be addressed separately with view to improving the CBA methodology. EDF considers direct electrification (except for those hard to abate sectors) to be the most cost-efficient way to achieve the EU decarbonisation objectives. The social welfare assessment of indirect solutions requires to be cautious and has to be analysed further. | The idea is to include such new methodologies within the Implementation Guidelines as test cases. After positive application in the TYNDP such new methodologies could be transferred into the CBA guideline. | Yes, but gas prices should better reflect the reality of gas prices in Europe in terms of magnitude, volatility, and location | Acknowledged and the comment will be considered when further updating the methodology.
B7 indicators - Security of Supply - Flexibility: What is, in your opinion, the relevance of the "non-mature" B7 indicators (B7.1 and B7.2), as described within the 3rd CBA Guidelines in the overall CBA assessment of a project? Do you think ENTSO-E should push to develop a methodology to be applied for all projects on a central ENTSO-E level or should its assessment be kept at the project level - delivered by the project promoter? | Same answer as for question 13. I do not think that having project level indicators is a good choice. Based on my understanding of the methodology, I think that the methodology is great for evaluating investments in transmission lines, but not well suited to evaluate investments in storage or other technologies that are capable of providing ancillary services. I am firmly convinced that SEW calculations should be performed in a way where BOTH energy AND ancillary services (FRC, aFRR, mFRR) demand are satisfied. I would appreciate a detailed methodological explanation why this is not the case already (I am convinced that this is technically feasible). | ENTSO-E acknowledges that PLI are not seen as perfect solution and will further investigate on possible solutions to making them general indicators as well. Currently it is not possible to assess the impact of a project on the ancillary services within the framework of the TYNDP due to practical reasons caused by the complexity of such kind of studies. | [6 empty] | Guidance is always good it allows for the avoidance of gamesman ship by promoters. However, to do this and be fair as many of these assessments will be done using dynamic modeling the SOs should make available dynamic modeling data (black box for commercial reasons) to allow for this type of assessment and these models should be used by all promoters not just 3rd party but TSO/DSO as well. | As it is currently not possible to assess the impact of a project on the ancillary services within the framework of the TYNDP for all projects from practical reasons caused by the complexity of such kind of studies this indicator needs to be treated as PLI. As soon as such a methodology is available it will be applied for all projects within the TYNDP. The treatment of data availability and publication is not content of the the implementation Guidelines. | This question is also far beyond the scope of the implementation guidelines and should be addressed when discussing improvements to the methodology. | The idea is to include such new methodologies within the Implementation Guidelines as test cases. After positive application in the TYNDP such new methodologies could be transferred into the CBA guideline.
Besides the benefit indicators given within the 3rd CBA Guideline should any other relevant indicator be included in the CBA assessment? | The SEW indicator calculation should better reflect the way power production porftfolios actually operate and TSOs actually run power systems with sufficient margins. Therefore it needs to be calculated not only with an energy demand constraints but also with constraints reflecting FCR, aFRR and mFRR demand (the exact modelling of these constraints is up for discussion) | Acknowledged and the comment will be considered when further updating the CBA Guidelines | A monetized benefit should be shown not only for avoided CO2 costs (ETS market value as well as avoided environmental costs) but also for avoided costs of non CO2 emissions. | Acknowledged and the comment will be considered when further updating the CBA Guidelines | The socio-economic welfare indicator captures redispatch, which needs to be established centrally, as a key indicator on system performance across Europe. ENTSO-E should publish redispatch data and costs centrally once a year. CurrENT also urges ENTSO-E to consider the need for an indicator that captures the use of network optimization technologies consistently with the so-called NOVA Principle, i.e. optimization ahead of reinforcement ahead of new networks. Employing such technologies – in addition to also expanding our networks – is crucial for a variety of the CBA indicators including RES and socio-economic welfare, as well as losses and flexibility. The Energy Efficiency First Principle should also be enshrined in the CBA approach, thereby emphasizing the importance of overall system efficiency. We also believe that the indicators must properly reflect the ability of technology solutions to address congestion and increase transmission capacity. The CBA’s Stability and Avoidance of Renewal/Replacement of Infrastructure also should be amended to include such benefits from network optimization technologies as faster and more efficient deployment, redeployability and modularity. | Acknowledged and the comment will be considered when further updating the CBA Guidelines. | The socio-economic welfare indicator captures redispatch, which needs to be established centrally, as a key indicator on system performance across Europe. ENTSO-E should publish redispatch data and costs centrally once a year. The Energy Efficiency First Principle should also be enshrined in the CBA approach, thereby emphasizing the importance of overall system efficiency. We also believe that the indicators must properly reflect the ability of technology solutions to address congestion and increase transmission capacity. | Acknowledged and the comment will be considered when further updating the CBA Guidelines. | While the Socio-economic welfare indicator covers technologies that reduce congestion and increase network capacity, the aspect of avoiding curtailment and thus having more RES for less is not yet captured. What is more, there is a need for annual studies in the near term (2022-2025) and then 5-yearstudies after that. There is a need for a requirement to demonstrate that optimization must be carried out before new circuits are built. (So called NOVA Principle: optimization ahead of reinforcement ahead of new networks). The alternatives considered should be described and a CBS be carried out as part of the submission to ensure that projects being brought forth as PCIs meet EU and national legal requirements. The CBA Scalability and deferred investment needs to be amended as to include the benefit of early and speedy deployment, of, redeployability and modularity. | Acknowledged and the comment will be considered when further updating the CBA Guidelines. | EDF first considers that the cost-benefit analysis is a tool to objectively assess a project from an economical point of view on the basis of all the potential costs and benefits that can be monetized. The CBA delivers an assessment of the net social welfare of a project. It is not to be confused with the multi-criteria assessment that, in addition, takes into account non monetizable criteria that will help prioritize projects. In such assessments, the qualitative insight and the relevance of these non-monetizable criteria is taken into account by attributing specific weighting factor that should remain transparent. Sometimes, the situation can become complex as some criteria may have both monetizable and non-monetizable costs or benefits and this could potentially lead to double-counting one given cost or benefit. EDF is not very comfortable with the idea of taking into account many additional criteria in the assessment as proposed by ENTSO-E. First because many of them may raise monetization issues and this could lead to double (or more)-counting (see Q15) and secondly because it could put out of sight the economic efficiency criteria, which is essential to reach decarbonisation at best cost. | Acknowledged and the comment will be considered when further updating the CBA Guidelines.
Assessment of the commissioning years: In the TYNDP 2022, ENTSO-E is considering a method to assess the commissioning years of submitted projects, in the case when no information is given within the latest available National Development Plan, or when no update from the NRA exists. In this case, the commissioning year will undergo a review against comparable projects. For this test, all projects submitted to the TNYDP 2022 will be categorized by distinct criteria (e.g. its technology AC, DC, the project status, the country they are built-in, etc.). The commissioning years of the projects to be checked will then be compared against the group of comparable projects. This comparison will be made using the average of a specific factor, applied to all projects within this group, that calculates as x=(cost/capacity)*length. Do you think this approach is sufficient in order to compare commissioning years? If not, what additional information would be needed to make the comparison - or what is not needed? | I do not have sufficient expertise to challenge this choice, it seems OK to me. | [7 empty] | The group of comparable projects is not specific if this is within the country or in a region, or of same type in Europe. Many countries have national and cultural issues which vary greatly. The ‘x’ factor seems strange ,a quad line and single conductor line can be a factor of 4:1, yet cost is much the same. This could mean a group of quad lines in Germany of same length would have an 'x' factor of as much as quarter of Austria which generally uses less conductors. | Acknowledged and the comment will be considered when further updating this methodology. | EDF welcomes the idea of improving the methodology by assessing the commissioning years to ensure the robustness of the analysis but again, this question is beyond the scope of the implementation guidelines. At this stage EDF is not able to comment on the formula proposed by ENTSO-E to calculate the specific factor. This requires a deeper analysis. ENTSO-E could engage with stakeholder and present why they chose this approach and the related hypotheses. | Acknowledged and the comment will be considered when further updating this methodology. | Yes | ENTSO-E appreciates this positive feedback
Assessment of the commissioning years: in relation to the previous question, do you think that in general, the length of an interconnection project has a major influence on the duration of a project? | I do not have sufficient expertise to provide a relevant answer. |  |  |  | No. The primary factors affecting the duration of a project are largely independent of its length, e.g. public acceptance and approval processes for the project, environmental aspects, etc. | ENTSO-E appreciates this constructive feedback and will consider this in further improving this indicator. | No. The primary factors affecting the duration of a project are largely independent of its length, e.g. public acceptance and approval processes for the project, environmental aspects, etc. | ENTSO-E appreciates this constructive feedback and will consider this in further improving this indicator. | No. The relevant aspect here is the public acceptance and approvals for the project, environmental aspects etc. | ENTSO-E appreciates this constructive feedback and will consider this in further improving this indicator. | EDF indeed considers that the length can have influence on the duration of a project, but it may not be of major influence. Other factors like the route, public acceptance, etc. are far more important to bring a project to the end. EDF considers TSOs, due to their experience, are best placed to analyse the factors that are of most influence on projects duration. | ENTSO-E appreciates this constructive feedback and will consider this in further improving this indicator. | Yes, but also capacity (bigger towers), and territory (e.g.: national parks) | ENTSO-E appreciates this constructive feedback and will consider this in further improving this indicator.